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CENTRAL POWER DISTRIBUTION CORPORATION of A.P. Ltd.
Dr. Y.S.R. Vidyuth Soudha, Beside Govt. Polytechnic, ITI Road, Vijayawada-520008

e-Procurement

Tender Notice No. 21/23-24 date:19-02-2024
CPDC of AP Ltd., intends to procure the following materials on e-procurement platform.  The details of which are as follows:

	Tender Specification No.
	Material
	Quantity

(Km)
	Date & time of downloading tender document
	Date & time of closing bid submission
	Technical Specification bid opening date online (Technical bid stage)
	Price bid opening date on line (Financial bid stage)

	CPMPT-            21/23-24
	1. LT XLPE SINGLE CORE CABLE

95 Sqmm


	60
	From 19-02-24
to  11-03-24
upto 12:00 Hrs
	On 11-03-24
by 14:00 Hrs
	On 11-03-24
by 16:00Hrs
	On 20-03-24
by 13:00Hrs



All the interested bidders may visit www.eprocurement.gov.in to view and download tender documents tree-of-cost.



Those who are interested to submit bids will have to register in the above mentioned site and also have to obtain Digital Certificates.  The details and procedure for obtaining digital certificates are mentioned in the website or contact the helpdesk of the site.

Bids received from the manufacturers/registered vendors of APCPDCL only will be considered
Email: cgmpmm.cpdcl@apcpdcl.in
/  cgmpmm.apcpdcl@gmail.com
Phones: 0866-2955455
CHIEF GENERAL MANAGER    
   P&MM:APCPDCL:VIJAYAWADA

ONLINE VERSION

Tender Specification No: CPMPT- 21/23-24
	Notice Inviting Tender Details

	S.No
	Description
	

	1
	Department Name
	CPDC of AP Ltd.

	2
	Office 
	Purchases & Material Management Wing, Corporate Office, CPDC of AP Ltd

	3
	Tender Number
	CPMPT- 21 /23-24

	4
	Tender Subject 
	LT XLPE SINGLE CORE CABLE 95 Sqmm 


	5
	Delivery Schedule
	The delivery of materials shall commence in 30 days at the rate of 20Km per month or as per requirement of APCPDCL shall be supplied.

	6
	Tender Type
	Open

	7
	Tender Category
	NA

	8
	Bid Security  (INR)
	Bidder shall furnish bid security amount of 2% of the total Ex-Works of quoted value against the bid by way of crossed Demand Draft drawn in favour of Accounts/Officer/ CPR/ APCPDCL/VIJAYAWADA payable at VIJAYAWADA in any scheduled bank.


	9
	Bid Security Payable to
	Through ap e-procurement (online) only 

	10
	Processing Fee (INR)
	NIL

	11
	Transaction Fee
	As per ap e-procurement portal.


	12
	Transaction Fee Payable to
	APTS, Hyderabad

	13
	Schedule Sale opening date
	19-02-24

	14
	Schedule Sale closing Date 
	11-03-24                upto 12:00Hrs

	15
	Bid Submission Closing Date & time
	11-03-24                upto 14:00Hrs

	16
	Bid submission
	On Line

	17
	Pre-Qualification& Technical Bid Opening Date (Qualification and Eligibility Stage and Technical Bid Stage – section VI)

	11-03-24                      upto 16:00Hrs

	18
	Price Bid Opening Date

 (Financial Bid Stage) Section – VII


	On    20-03-24  upto 13:00Hrs

	19
	Place of Tender Opening
	O/o Chief General Manager/P&MM/APCPDCL

Dr. Y.S.R. Vidyuth Soudha, Beside Govt. Polytechnic, ITI Road, Vijayawada-520008 Andhra Pradesh

	20
	Officer Inviting Bids/ Contact Person
	Chief General Manager / P&MM / APCPDCL 


	21
	Address/E-mail id
	O/o Chief General Manager/P&MM/APCPDCL

Dr. Y.S.R. Vidyuth Soudha, Beside Govt. Polytechnic, ITI Road, Vijayawada-520008 Andhra Pradesh cgmpmm.cpdcl@apcpdcl.in

	22
	Contact Details/Telephone, Fax
	Ph. No. 0866-2955455


	23
	Eligibility Criteria
	As per Section VI

	24
	Procedure for Bid Submission
	Bids shall be submitted online on www.apeprocurement.gov.in platform

1. The participating bidders in the tender should register themselves free of cost on e-procurement platform in the website www.apeprocurement.gov.in. 

2. Bidders can log-in to e-procurement platform in Secure mode only by signing with the Digital certificates.

3. The bidders who are desirous of participating in e-procurement shall submit their technical bids, price bids as per the standard formats available at the e-market place.

4. The bidders should scan and upload the following documents in support of technical bids. The bidders shall sign on all the statements, documents certificates uploaded by him, owning responsibility for their correctness/ authenticity:  

a) Processing Fee 

b) Bid Security should be online only
c) “ Latest Sales Tax Clearance Certificate” 

d)  Details of previous supplies as per tender document 

e) Copies of previous supply orders in support 

    of above.

f) Turnover certificate issued by Auditor and reports on financial standing of the bidder such as profit and loss statement, balance sheets and auditors reports for the past three years etc. 

g) Duly filled and signed proforma as per Format IIIA.
h) Transaction fee payable to APTS, VIjayawada

       5. The rates should be quoted in online only


	
	
	6. 
a. The bidders should upload the documents in PDF  

     format only; otherwise they are liable for rejection

b. After uploading the documents the copies of the 
    uploaded statement, certificates, documents, 
    in respect of processing fee and Bid Security      

   (except the Price bid/offer/break-up of taxes) are to 
   be submitted by the bidder to the Chief General 
   Manager/P&MM/APCPDCL so as to reach before 
   the date and time of opening of the  technical bid. 
d. Failure to furnish any of the uploaded documents, 
    certificates, before the date and time of opening of 
    technical bid will entail in rejection of the bid. 
e. The Department shall not hold any risk on account of postal delay. 
f. Similarly, if any of the certificates, documents, etc., 
    furnished by the tenderer are found to be false / 
    fabricated / bogus, the bidder will be disqualified, 
    blacklisted,  action will be initiated as deemed fit 
    and the Bid Security  will be forfeited.

7. The department will not hold any risk and responsibility regulating non-visibility of the scanned and uploaded documents.

8. The Documents that are uploaded online on e-market place will   only be considered for Technical Bid Evaluation.
9. Copies of all the uploaded statement like Previous experience, turnover details, type test reports etc. shall be notarized or attested by the gazetted  officer 

10. Important Notice to Contractors, Suppliers and Department users

(i)  In the endeavor to bring total automation of processes in e-Procurement, the Govt. has issued orders vide G.O.Ms.No. 13 dated. 5.7.2006 permitting integration of electronic Payment Gateway of ICICI/HDFC Banks with e-Procurement platform, which provides a facility to participating suppliers/ contractors to electronically pay the transaction fee online using their credit cards.



	25
	Rights reserved with the Department
	APCPDCL reserves the right to accept or reject any or all of the tenders received without assigning any reasons therefore.  The APCPDCL also reserves the right to split the tender and place orders on more than one tenderer at its discretion

	26
	General Terms and Conditions
	As per tender documents.


SECTION - IIA
SALIENT FEATURES OF THE BID

Superscription on the Tender Cover

Specification No



: CPMPT- 21/23-24
Material




:  LT XLPE SINGLE CORE CABLE 95Sq.mm 
Officer to whom the bid will be addressed
: Chief General Manager/P&MM






  APCPDCL ::VIJAYAWADA
Superscription on the bid cover and 

the outer envelope



:

a. Registration No. of the vendor (if any)

b. Specification No.

c. Due date and time for online submission

d. Date and time of online opening 

e. Payment towards Processing fee Rs……. DD No…… dt……

f. Payment of bid security



i) Give details: DD No._____Dt.___ for Rs.________ 



g. Whether 90 days validity offered ………(yes/no).


h. Whether bid is made accepting payment terms Clause….(yes/no).



i. Whether delivery is as per delivery schedule indicated….(yes/no)



j. Whether the sample (if specified) has been enclosed/sent…(yes/no)

Content of Bidding Documents 

The materials/equipment required, bidding procedures, and contract terms are prescribed in the bidding documents as listed below :

Section- I

: 
Notice Inviting Bids.

Section-II

:
Salient features of the Bid.

Section-III

:
Schedule of Materials  

Section-IV

:
Technical Specification

Section-V

:
General terms and conditions of contract

Section-VI

:
Qualification Requirements

Section-VII

:
Sample Forms 

Section-VIII

:
General & Eligibility

SAMPLE  FORMS
1) Bid Form and Price schedules.

2) Bid Security Form

3) Contract Form.

4) Performance Security form

5) Manufacturer’s Authorization form

6) Performance Statement

7) Details to be furnished by the Manufacturer

8) Schedule of Deviations (Technical & Commercial)

The Bidder is expected to examine all instructions, forms, terms and technical specifications in the bidding documents. Failure to furnish all information required by the bidding documents or to submit a bid not substantially responsive to the bidding documents in every respect will be at Bidder’s risk and may result in the rejection of its bid.
Deviations from standard bidding document :

ii) General terms and conditions of Contract.

iii) Technical

The above deviations super cede the existing terms of GTC and Technical specification.

                                                                                   CHIEF GENERAL MANAGER/P&MM







APCPDCL::VIJAYAWADA
Section - IIB

The Following information shall be furnished by the bidder for technically qualifying

	Sl.No. 
	CPDCL Requirements 
	To be furnished by the bidder 

	1
	Bid Security
	a) Amount 

b) DD No. / Date

c) Name of the Bank 

	2
	Turnover for last 5 years 

Issued by auditor  should be enclosed in original or a copy of the same shall be attested by gazetted officer or notarized shall be enclosed

(Furnish all or any one)
	                          (In lakhs)

a) 2018-19
b) 2019-20
c) 2020-21
d) 2021-22
e) 2022-23

	3
	Previous experience year wise for last 5 years in respect of the following materials as per section –VII- schedule (f ) and the same shall be attested by gazetted officer or notarized

a) LT XLPE SC cable 
95 Sqmm 
	2018-19
	To 
	2022-23

	4
	Delivery schedule: Commencement of supplies and (Monthly Delivery  of materials shall be furnished)   

 
	a) Supplies shall be commenced within  30 days from the date of receipt of P.O. 

b) Monthly  20 Km shall be supplied 

	5.
	Type tests: 

Latest type test  as  specified in section –IV item No.6 and Guaranteed Technical Particulars shall be furnished     
	

	6.
	APCPDCL  payment terms 


	Accepted / Not accepted 

(Delete any one )

	7.
	Tax clearance 
	Furnished / Not furnished 

(Delete any one) 

	8.
	Validity of tender for 90 days
	Accepted / Not accepted 

(Delete any one )


Note: Above information should be furnished by the tenderer for technically qualifying in the tender.  Non-furnishing of any item by the tenderer will be treated as non-responsive.

Signature of tenderer
 SECTION – III

SCHEDULE  OF REQUIREMENTS  CPMPT  No.  21/2023-2024
	S.No
	Description
	Qty 
	Destination 



	1.
	L.T Single Core XLPE Cables: ISI marked Cross Linked Polyethylene (XLPE) insulated PVC Sheathed Cable for working voltage upto and including 1100V AC conforming to IS : 7098 (Pt.I)/1988 with Amdt. No. 1 (also with latest amendments if any) in the size of 1C x 95Sq.mm 
The single core cable shall be unarmoured suitable for effectively earthed distribution system having compacted circular stranded Aluminium Conductor Plain of Grade H4 and flexibility Class-2 conforming to IS: 8130/1984 amended up-to-date. The fire performance category of the Cable shall be 01.
	 60km
	Gunadala
Guntur
Ongole
CRDA


NOTE :
1. Free at destination stores rates shall be quoted. Breakup of Ex-factory rate and freight and insurance shall be indicated. Input tax credit available to the supplier on the purchase of inputs (Raw materials) consequent to GST Act effect from 01-07-2017 shall be taken into account while quoting the prices.  The HSN code and tax rate shall be mentioned.

2. Delivery: The delivery of materials shall commence within one month from the date of purchase order. The total quantity mentioned is to be supplied as per CPDCL requirement.
3. The bidder shall quote the rate of delivery per month i.e., specific quantity (Nos.) per month.
4. The bidder should also furnish particulars/information to be furnished by the bidder enclosed to this specification. Bids not accompanied by this information are liable for rejection. 
5. Prices are Firm. 

6. Unloading charges at destination stores shall be to CPDCL account only. 

                                                                          CHIEF GENERAL MANAGER




                 P&MM: APCPDCL: VIJAYAWADA
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SECTION – IV

TECHNICAL SPECIFICATION 

TECHNICAL SPECIFICAITON OF SINGLE CORE 95 Sq.mm

1.0
SCOPE:

1.1
This specification provides for design, manufacture, engineering, inspection, stage testing and testing before supply, packing, forwarding and delivery at site of LT Single core XLPE Cables complete with all fittings, accessories specified herein which are required for efficient and trouble free operation as specified here under,  for use with effectively earthed distribution system.

1.2
It is not the intent to specify completely herein all the details of the design and construction of material.  However the material shall conform in all respects to high standards of engineering, design, workmanship and shall be capable of performing in continuous commercial operation in a manner acceptable to the purchaser, who will interpret the meanings of drawings and specification and shall have the power to reject any work or material which in his judgment is not in accordance therewith.  The material offered shall be complete with all components necessary for its effective and trouble free operation.  Such,  components shall be deemed to be within the scope of Bidder’s supply irrespective of whether those are specifically brought out in this specification and  the commercial order or not.

2.0
STANDARDS:

2.1
The material shall conform to the latest issues / amendments of standards given below, except to the extent explicitly modified in the specifications.

	INDIAN STANDARDS SPECIFICATION  NO
	TITLE

	1. IS:7098 Part-I/1988
	Specification for Cross Linked Polyethylene Insulated PVC Sheathed Cables for working voltages upto and including 1100V

	2. IS:5831/1984
	PVC Insulation and sheath of electric cables

	3. IS:8130/1984
	Conductors for insulated electric cables and flexible cords.

	4. IS:10810/1984
	Methods of test for cables

	
	Indian Electricity Rules,1956


2.2
Material conforming to other internationally accepted standards, which ensure equal or higher quality than the standards mentioned above would also be acceptable.  In case the bidders who wish to offer material conforming to the other standards, salient points of difference between the standards adopted and the specific standards shall be clearly brought out in relevant schedule.  Four copies of such standards with authentic English Translations shall be  furnished along with the offer. In case of any the orders of precedence shall be as per IS.  In case of any difference between provisions of these standards and provisions of the specification, the provisions contained in this specification shall prevail.
3.0
SERVICE CONDITIONS:

3.1
Climatic Conditions:
The material to be supplied against this specification shall be suitable for satisfactory continuous – operation under the following tropical conditions.

	Sl.

No.
	Location
	In the state of

Andhra Pradesh

	i.
	Max. ambient air temperature (Deg.C)
	50

	ii.
	Min. ambient air temperature (Deg.C)
	7.5



	iii.
	Average daily ambient air temperature (Deg.C)
	35

	iv.
	Max. Relative Humidity (%)
	74

	v.
	Max. altitude above mean sea level (m)
	1000

	vi.
	Average Annual rainfall (mm)
	925

	Vii.
	Max.wind pressure (kg./sq.m)
	200

	viii.
	Isoceraunic level (days per year )
	50

	ix.
	Seismic level (Horizontal acceleration)
	0.10g

	x.
	Average No. of thunderstorms days/years
	40

	xi.
	Average number of rainy days/years
	90

	xii.
	Average number of months/tropical monsoon condition per year
	3


Moderately hot and humid tropical climate, conducive to rust and fungus growth. The climatic conditions are also prone to wide variations in the ambient conditions. Smoke is also present in the atmosphere. Heavy lightning also occurs during June to October.

4.0 PRINCIPAL PARAMETERS : LT XLPE Single Core Cables

4.1
The material covered in this specification shall meet the Technical Requirement listed below.
	SL.

No.
	Particulars
	Requirement

	1
	Type of Cable 
	Cross linked polyethylene insulated PVC sheathed Aluminum cable

	2
	No.of cores
	Single

	3
	Conductor Nominal Area.
	95 Sq.mm

	4
	Conductor material
	EC  grade Aluminum, H2/H4

	5
	Max. DC Resistance (Ohms/km)
	0.253   Ohms/km

	6
	System of voltage (Nominal & variation)
	1100Volts +10% -15%

	7
	Short circuit rating for 1 second     (KA rms)
	11.3

	8
	System frequency & variation
	50 Hz +/-5%

	9
	Current rating (standard condition)    in air at 40 Deg. C
	295 Amps

	10
	Safe overload capacity
	10%

	11
	Insulation 
	XLPE

	12

a)


	Maximum allowable temp,

for cable and accessories

During continuous operation at rated full load current the maximum temperature of the conductor shall not exceed (Deg. C).
	900 C



	b)
	 The conductor temperature after a short circuit for one second shall not exceed (Deg.C).
	2500 C

	13
	System earthing 
	Effectively GROUNDED


5.0 GENERAL TECHNICAL REQUIREMENTS :

5.1
L T XLPE SINGLE CORE ALUMINUM POWER CABLES:

5.1.1
The power cable shall be of LT 1100V grade, stranded, compact, circular, high conductivity  H4 grade aluminum conductor of flexibility grade-2, Single core XLPE insulated, extruded PVC outer sheathed, overall, confirming to IS:7098 (Part-I/1988) with latest amendments thereto suitable for LT,AC 3-Phase 50 Cycle per second effectively earthed distribution system.

5.1.2.
The cable-size required is 95 Sq.mm stranded aluminum conductor XLPE insulated and PVC sheathed overall cable as per IS:7098 part-I/1988 with latest amendments thereto suitable for  1.1KV earthed system.

5.1.3. Outer sheathing shall be designed to afford high grade of mechanical protection and shall be heat, oils, chemicals abrasion and weather resistant. Common acids, alkalines, saline solutions etc., shall not have adverse effects on the PVC sheathing materials used.

5.1.4. The cable shall be suitable for laying in Air/and or in covered trenches and/or buries underground to meet the outdoor application requirements.

5.2. Materials and construction :

5.2.1 CONDUCTOR :

The cable conductor, composed of electrically pure H4 grade flexibility     class 2 plain aluminum wires, shall be stranded together and compacted. Conductor construction and testing shall be as per IS:8130/1984 including amendments thereto. Stranding and compacting should be such that it should bring out smooth surface so as to ensure minimum stress development on the surface of the conductor. 
5.2.2 INSULATION :

The XLPE shall be suitable for specified system voltage. The manufacturing process shall ensure that the insulation is free from voids. The insulation shall withstand mechanical and thermal stresses under steady state as well as transient operating conditions.  The extrusion method shall give very smooth surface. The insulation shall be so applied that it fits closely on the conductor and it shall be easily possible to remove it without damaging the conductor. The XLPE shall be of high standard and quality conforming to the requirements specified in the Table-1 of IS-7098 (Part-I)1988. Thickness of insulation and tolerance thereof shall be as specified vide clauses 9.2 and 9.3 of IS-7098/Part-I/1988,IS 5831&IS 14255. No armouring is required.
5.2.3. Outer sheath: The core shall be provided with an outer sheath applied by extrusion of PVC, type ST-2 to IS-5831/1984 to withstand field conditions and a continuous conductor temperature of 90 Deg. C. It shall have adequate thickness, consistent quality and be free from all defects. The outer sheath shall be so applied that it fits closely on the core and it shall be possible to remove it without damage to the insulation. The outer sheath material shall be so chosen as to be compatible with the temperature ratings of the cable and shall have no deleterious effect on any other component of the cable. The outer sheath should be Anti-corrosive &moisture and water and fire resistant. The outer covering should protect the cable from the influence of surrounding effects like acids, alkalis, salts, emulsions and other organic substances.

The average thickness of outer sheath shall be not less than the nominal value specified under column-3 of table-8 and the smallest of the measured values shall be less than the minimum value specified in column-4 table-8 of IS:7098/part-I/1988. Color of the outer sheath shall be  black. Suitable additives to prevent attack by rodents and termites shall be added to the sheath material.
5.2.4. Embossing : The cable shall be embossed through out the length with the name of the manufacturer or trademark and the letters “APCPDCL” along with ISI marking, size of the cable and the year of manufacture. The embossing shall be done only on the outer sheath. The cable shall be embossed for the verification of its length at intervals of one meter say 1,2,3 up to full lengths.
5.2.5. Current rating : The cable shall have current ratings and derating factor as per relevant IS. The rating shall be based on the maximum conductor temperature of 90 Deg. C. with site ambient conditions specified for continuous operation at rated current.
5.2.6. Operation:  The cable shall be of given satisfactory operation under a power supply system frequency variation of +/-5% voltage variation of +/-10% to -15%. Cables shall have heat and moisture resistant properties.  Their type and design shall have proven record on distribution network service.
5.2.7. General: All materials used in the manufacture of cables shall be new, unused and of finest quality.  All materials shall comply the applicable provisions of the tests of the specifications, IS, Indian Electricity Rules, Indian Electricity Act and any other such applicable statutory provisions, rules regulations etc. The purchaser reserves the right to call for documentary proof of purchase of various input materials to be use in the manufacture of cables and to check that the supplier is complying with quality control.
Caution: The PVC material used in the manufacture of cables shall be of reputed make RECYCLING OF PVC IS NOT PERMISSIBLE.
5.2.8 GUARANTEED TECHNICAL PARTICULARS:

The guaranteed technical particulars as detailed in the specifications Annexure-I shall be guaranteed and a statement of Guaranteed Technical Particulars shall be furnished in the formats along with the Bid without which the Bid will be treated Non-Responsive.
GUARANTEED TECHNCIAL PARTICULARS FOR SINGLE CORE LT XLPE ALUMINUM POWER CABLES
	SL.
	Characteristics
	95 Sq.mm

	No.
	
	

	A 
	 
	 

 

 

 

 

	1
	Name and country of manufacture 
	-

	2
	Type of Cable 
	Single  Core unarmoured fixed

	3
	Trade Name/Brand Name 
	--

	4
	Voltage Grade
	Upto & Including 1.1KV

	5
	No of cores
	Single Core

	6
	Conductor Nominal Area (Sq.mm)
	95

	7
	Conductor material
	EC  grade Aluminum, H2/H4

	8
	Max. DC Resistance (Ohms/km)
	0.32

	9
	Premissible frequency variation and voltage variation for satisfactory operation 
	50Hz + 5%

	10
	Short circuit rating for 1 second.(KA rms)
	8.93

	11
	Safe overload capacity
	10%

	12
	Maximum allowable temp for cable and accessories
	90 Deg.C

	A
	During continuous operation at rated full load current the maximum temperature of the conductor shall not exceed
	90 Deg.C

	B
	The conductor temperature after rated short circuit.
	250 Deg.C

	13
	Safe pulling force (Kg)
	50 Kgf

	14
	Specific insulation resistance at 90 Deg.C (Ohms/km)
	1 x 1012 Ω - cm

	15
	Insulation resistance at 27 Deg.C (Mega Ohm/km)
	36.7 M-OHM-KM

	16
	Short circuit current (Sec)
	 

 

 

 

 

	 
	i)  Short circuit current (KA rms)
	9

	 
	ii) Duration of short circuit (Sec.)
	1 sec.

	 
	iii) Allowable/attainable maximum conductor temperature when carrying current continuously (Deg.C)
	90 Deg. C

	 
	iv) Allowable/attainable maximum conductor temperature at the termination of short circuit (Deg.C)
	250 Deg. C


	No.
	Characteristics
	95Sq.mm

	B 
	
	

	1
	CABLES 
	

	2
	Material and grade 
	1.1KV Grade single core XLPE insulated & PVC sheathed cables as per IS:7098(1) 1988 with latest amendments

	3
	CONDUCTOR 
	

	3.1
	Material and Grade 
	EC  grade Aluminum, H2/H4

	3.2
	Minimum number of wires/strands pere conductor 
	19

	3.3
	Diameter of wire/strand (mm)
	2.50

	3.4
	Diameter of conductor (mm)
	11.00+/-5%

	3.5
	Whether compacted
	Circular compacted

	4.0
	Insulation 
	XLPE as per IS 7098-(1)-1988

	4.1
	Material
	

	4.2
	Thickness of insulation (mm)
	1.10

	4.3
	Diameter of core over insulation (mm) 
	13.20

	4.4
	Whether XLPE insulation gas cured or steam cured
	Steam cured

	4.5


	Whether xlpe insulation filed or unfilled
	unfilled

	5.0
	OUTER SHEATH
	PVC Type ST-2 as per IS:5831-1984 with latest amendments

	5.1
	Material and type 
	

	5.2
	Minimum thickness of sheath (mm)
	1.24

	5.3
	Tolerance of thickness
	As per Clause No. 14.3.1. of IS:7098 (1) 1988 with latest amendments

	5.4
	Overall diameter of cable (mm)
	15.80

	5.5
	Whether PVC recycled
	No recycled PVC

	6.0
	CABLE CONSTANTS 
	

	6.1
	DC Resistance per core at 20 Deg.C(Ohms/km)
	0.320

	6.2
	AC Resistance per  core at the maximum operating temperature of 90 Deg. C(Ohms/km)
	0.41

	7.0
	Continuous current carrying capacity (or current rating)
	

	
	i) For standard conditions as per IS 
	

	
	----- in air at 40 Deg. C (Amps)
	255

	
	----- in ground at 30Deg. C (Amps)
	204

	
	----- in duct at 30 Deg. C (Amps)
	204

	
	----- in trench  (Amps)
	255

	7.1
	Rating factors 
	

	
	i) For variation in ambient air temperature 
	15,20,25,30,35,40,45,50

	
	----- temperature (Deg. C )
	

	
	----- factory (Deg. C )
	1.12, 1.08, 1.04, 1.00, 0.96, 0.91, 0.87, 0.82

	
	ii) For variation in ground temperature 
	

	
	----- temperature (Deg. C )
	15,20,25,30,35,40,45,50

	
	----- factory (Deg. C )
	1.17,1.12,1.06,1.00,0.94,0.87,0.79

	7.2
	Are the  offered cables guaranteed to perform satisfactorily under insulation conditions specified. If yes, furnish relevant calculations in support including the following data.


	

	
	i) Maximum continuous and short time (1sec) voltage withstand capability of inner PVC sheath of the cable (volts)
	Upto 1.1KV

	8.0
	PHYSICAL DETAILS 
	

	8.1
	Cable weight (kg/Km)
	420 +/- 2%

	8.2
	Cable drum
	

	
	------ Cable net weight for 500mts (kg/drum)
	210+/-2%

	
	------ Gross shipping weight (kgs)
	Approx:275 Kgs


6.0 TESTS :

6.1
Type Test:
6.1.1.
All the materials offered by the Bidder shall be fully type tested in a Govt./NABL approved lab as per the relevant Standards IS: 7098 (Part I)/1988 with amendment No1. The following type tests must have been conducted not earlier than five years. The Bidder shall furnish two sets of the following type tests reports along with the offer.

i) Test on conductor

a) Tensile test (for aluminum)

b) Resistance test

ii)  Test for thickness of insulation and sheath

iii) Insulation resistance test (Volume Resistivity Test)

iv) High voltage test

v) Flammability test

vi) Physical tests for insulation.

vii) Physical tests for sheath
6.1.2. THE OFFERS RECEIVED WITHOUT ABOVE COMPLETE AND SATISFACTORY TYPE TEST CERTIFICATES SHALL BE TREATED AS NON-RESPONSIVE.

6.1.3. THE TENDERER SHALL FURNISH A COPY OF VALID BIS LICENCE FOR ISI MARKING TOGETHER WITH THEIR OFFER, WITHOUT WHICH THE OFFER SHALL BE TREATED AS NON-RESPONSIVE.

6.1.4. Acceptance and Routine tests :

All acceptance and routine tests as stipulated in the relevant standards shall be carried out by the supplier in the presence of purchaser’s representatives.

Immediately after finalization of the program of acceptance/routine testing, the supplier shall give fifteen days advance intimation to the purchaser, to enable him to depute his representative for witnessing the tests. Optional tests on the sheath are not applicable.

The type tests as specified in the IS should be carried out not later than 5years from the date of opening of bid.
7.0 INSPECTION :

7.1. General 

i) The purchaser shall have access at all time to the works and all other places of manufacture where the materials are being manufactured and the Bidder shall provide purchasers representatives all facilities for unrestricted inspection of the Bidder’s works, raw materials, manufacture of all the accessories and for conducting necessary tests as detailed herein.

ii) The successful Bidder shall keep the Purchaser informed in advance of the time of starting and of the progress of manufacture of equipment in its various stages so that arrangements could be made for inspection.

iii) No material shall be dispatched from its point of manufacture unless the materials has been satisfactory inspected and tested.

iv) The acceptance of any quantity of material shall in no way relieve the successful Bidder of his responsibility for meeting all the requirement of this specification and shall not prevent subsequent rejection if such material are later found to be defective.
v) The Bidder shall give 15 days (for local supplies)/30 days (in case of foreign supplies) advance intimation to enable the purchaser to depute his representative for witnessing acceptance and routine tests.

vi) The purchaser reserves the right to appoint at his cost any inspection agency to carry inspection.

7.2 Inspection Programme.

a. The Bidder shall chalk out a detailed inspection and testing programme for manufacturing activities for the various components.

b. Stages of inspection and purchaser’s participation would be defined and tied up art the time of award of contract.

8.0 QUALITY ASSURANCE PLAN:

8.1. The bidder shall invariable furnish the following information along with his bid, failing which his bid shall be liable for rejection. Information shall be separately given for individual type of material offered.

(i)
The structure of Organization.

(ii)
The duties and representative assigned to staff ensuring Quality of work.

(iii)
The system of Purchasing, taking delivery and verification of materials.

(iv) 
The system for ensuring quality of workmanship.

(v)
The quality assurance arrangements shall conform to the relevant requirement of ISO-9001 or ISO-9002 of applicable.

(vi)
Statement giving list of important raw materials names of sub-suppliers for the raw materials, list of standards according to which the raw materials are tested. List of tests normally carried out on raw materials in presence of Bidder’s representative, copies of test certificates.

(vii)
Information and copies of test certificate as in (vi) above in respect of bought out accessories.

(viii)
List of manufacturing facilities available

(ix)
Level of automation achieved and list of areas where manual process exists.

(x)
List of areas in manufacturing process, where stage inspections are normally carried out for quality control and details of such tests and inspections.

(xi)
Lists of testing equipment available with the bidder for final testing of equipment specified and test plaint limitation. If any, vis-à-vis the type, special acceptance and routine tests specified in the relevant standards. These limitations shall be very clearly brought out in schedule of deviations from specified test requirements.

8.2 The Contractor shall within 15 days of placement of order, submit following information to the purchaser.

(i)
List of raw materials as well as bought out accessories and the names of sub suppliers selected from those furnished along with offers.

(ii)
Type test certificates of the raw materials and bought out accessories if required by the purchaser.

(iii)
Quality Assurance Plan (QAP) with hold points for purchaser’s inspection. The quality assurance plan and purchasers hold points shall be discussed between the purchaser and Contractor before the QAP is finalized.

8.3 The Contractor shall operate systems which implement the following:

(i)
Hold point: A stage in the material procurement of workmanship process beyond which work shall not proceed without the documental approval of designated individuals or organization. The Purchaser written approval is required to authorize work to progress beyond the hold points indicated in approved quality plans.

(ii)
Notification Point: A stage in material procurement of workmanship process for which advance notice of activities required facilitates witness.

(iii)
If the Purchaser does not attend after receiving documented notifications in accordance with the agreed procedures and with the correct period of the notice then the work may proceed.

The Contractor shall submit the routine test certificates of bought out accessories and central excise passes for raw material  at the time of routine testing if required by the purchaser and ensure that the Quality Assurance Requirements of the specification are  followed by the sub-contractors.

The Quality Assurance Program shall give a description of the Quality System and Quality Plans with the following details.

(i)
Quality System:

· The structure of the organization

· The duties and representatives assigned to staff ensuring Quality of work.

· The system of Purchasing, taking delivery and verification of materials.

· The system for ensuring quality workmanship

· The system for control of documentation.

· The system for retention of records.

· The arrangement for Contractors internal audition

· A list of the Administrator and work procedures required to achieve contractors Quality requirements. These procedures shall be made readily available to the purchaser for Inspection on request.

(ii)
Quality Plans:



An outline of the proposed work and program sequence

· The structure of contractor organizations for the contract.

· The duties and responsibilities assigned to staff ensuring quality of work.

· Hold and Notification points.

· Submission of Engineering document required by the specification.

· The inspection of the materials and components on request.

· Reference to Contractors work procedures appropriate to each activity.

· Inspection during fabrication /Construction.

· Final inspection and Test.
9.0
PACKING AND FORWARDING:
9.1
Packing & Drum marking: The cables shall be wound on drums and packed. The ends of the cables shall be sealed by means of non-hygroscopic sealing material. The cables shall be supplied strictly in SINGLE CONTINUOUS LENGTHS OF 500 Mtrs +/-5%
a) Tolerance in overall length ordered, shall be not in excess of +/-5%

b) Manufacture’s capability to supply maximum drum lengths may be specified Purchaser shall have, however, the right to choose and decide on the drum lengths at the time of ordering.

c) Type and material of the drum shall be specified by the supplier, preferably by means of a dimensional drawing.

d) The drum packing shall be robust enough for rough handling that is occasioned during transport by sea/road.

9.2 The cable shall carry the following information either stenciled on the reel or a label attached to it.

a)
Reference IS with IS certification mark.

b)
Manufacturer’s name, brand name or trade mark.

c)
Type of cable, voltage grade.

d)
No. of cores/nominal area of cross-section of conductor cable code.

e)
Length of cable on drum (m)

f)
Direction of rotation of drum (by arrow)

g)
Gross weight of drum (Kgs)

h)
Year of manufacture.

i)
The drum shall be marked “APCPDCL ”
9.3.
The equipment shall be packed in create suitable for vertical/horizontal transport as the case may be, and suitable to withstand handling during transport and outdoor stores during transit. The supplier shall be responsible for any damage to the equipment during transit, due to improper and inadequate packing. The easily damageable material shall be carefully packed and marked with and appropriate caution symbol.  Wherever necessary, proper arrangement for lifting, such as lifting hooks etc., shall be provided. Any material found short inside the packing cases shall be supplied immediately by supplier without any extra cost.

9.4
Each consignment shall be accompanied with a detailed packing list containing the following information.

a)
Name of the consignee.

b)
Details of consignment.

c)
Destination.

d)
Total weight of consignment.

e)
Handling and packing instructions.

f)
Bill of Material indicating contents of each package.

9.5 The supplier shall ensure that the packing list and bill of material are approved by the purchaser before dispatch.

9.6 The packing shall be done as per the manufacturer’s standard practice. However, he should ensure the packing is such that, the material should not get damaged during transit by Road/Sea.

10. QUANTITY AND DELIVERY REQUIREMENTS :

The quantity and delivery requirement are indicated in Section-VI.

11. SUPERVISION SERVICES; NIL

The purchaser will arrange for unloading of the consignments.

12. TECHNICAL DEVIATIONS:

Technical deviations to Section-VII “Technical Specification” shall be specifically and clearly indicated in the “Annexure-III.
ANNEXURE-I

SYSTEM PARTICULARS 

	SL.

No.
	Item
	Specification 

	1
	Type of Installation
	Outdoor

	2
	System Voltage
	415V+10%-15%

	3
	System frequency
	50Hz +/-5%

	4
	No of phases
	Single

	5
	System of earthing 
	Effectively earthed
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A.  INTRODUCTION
1. Definitions

1.1. In this contract, the following terms will be interpreted as indicated. 

a) “The Contract” means the agreement entered into between the Purchaser and the Supplier, as recorded in the contract Form signed by the Parties, including all attachments and appendices thereto and all documents incorporated by reference there in. 

b) “The Contract Price” means the price payable to the Supplier under the Contract for the full and proper performance of its contractual obligations.

c) “The materials/equipment” means all of the equipment, machinery, and/or other materials which the Supplier is required to supply to the Purchaser under the Contract.

d) “The Services” means those service ancillary to the supply of the materials/equipment, such as transportation and insurance, and any other incidental services, such as installation, commissioning, provision of technical assistance, training, and other such obligations of the supplier covered under the contract.

e) “GTC” means the General Terms and Conditions of contract contained in the section.

f) “The Purchaser” means the organization purchasing the materials/ equipment.

g) Vendor is a supplier who has registered with the purchaser for supply of materials/equipment. 

h) “The Supplier” means the firm supplying the materials/equipment and Services under this contract.

i) “Day” means calendar day.

2. Applicability 

2.1. These General conditions of contract will apply to the extent that they are not superseded by provisions of Salient features of Bid. 
3. (a)
Standards


The materials/equipment supplied under this Contract will conform to the standards mentioned in the Technical specifications, and, when no applicable standard is mentioned, the authoritative standards appropriate to the materials/equipment i.e., BIS, such standards will be the latest. All material will be of the best class and will be capable of satisfactory operation under tropical conditions without distortion or deterioration. 

(b)
Interchangeability 


All similar materials and removable parts of similar equipment will be interchangeable with each other. A specific confirmation of this should be furnished in the bid. 

4. Scope of Work


This specification covers design manufacture, testing and delivery FADS (Free at Destination stores) of the materials described at Section ‘Schedule of Material of Volume-I’ and ‘Technical Specification Section of Volume-I’. 















5. Eligible Bidders  


Vendors who have registered themselves with APCPDCL/(Manufacturers) for supply of the material/ equipment listed in Section ‘Schedule of Material of section-III and meeting the qualification requirements described at Section-II of Bid specification only need quote. Bids received from firms not meeting the above two criteria will not be considered.

B. THE BIDDING DOCUMENTS

6. Contents of Bidding Document 

6.1. The material/equipment required, bidding procedures, and contract terms are prescribed in the bidding documents as listed below.

1. Notice Inviting Bid

2. Salient Features of the Bid

3. General terms and conditions of contract

4. Schedule of requirements (Delivery Schedule)

5. Technical specification

6. Qualification Requirements

7. Bid Form and Price Schedules

8. Bid Security

9. Performance Security Form

10.  Schedule of Deviations 
6.2. The Bidder is expected to examine all instructions, forms, terms and Technical specifications in the bidding documents. Failure to furnish all information required by the bidding documents or to submit a bid not responsive to the bidding documents in every respect will be at Bidder’s risk and may result in the rejection of its bid.
7. Clarification of Bidding Documents 

Clarification of Bidding Documents: A prospective Bidder requiring any clarification of the bidding documents may notify the purchaser in writing or by cable (hereinafter, the term cable is deemed to include telex and fax) 

at the Purchaser’s address. The Purchaser will respond in writing to any request for clarification of the bidding documents, which it receives no later than fifteen (15) days prior to the deadline for the submission of bids. 

8. Amendment to Bidding Documents 

8.1. At any time prior to the deadline for submission of bids, the purchaser, for any reason, whether at its own initiative or in response to a clarification requested by a prospective Bidder, may modify the bidding documents by amendment.

8.2. In order to allow prospective bidders reasonable time in which to take the amendment into account in preparing their bids, the purchaser, at its discretion, may extend the deadline for the submission of bids.

C. PREPARATION OF BIDS
9. Language of Bid


The bid prepared by the Bidder including all correspondence and documents relating to the bid exchanged by the Bidder and the Purchaser, will be in English only.

10. Cost Associated with Bidding 

The Bidder will bear all costs associated with the preparation and submission of its bid, and the purchaser, will in no case be responsible or liable for those costs, regardless of the conduct or outcome of the bidding process.

11. Documents constituting the Bid 

11.1. The bid prepared by the Bidder will comprise the following components :

i.  Particulars of DD/pay Order towards cost of the Bid. 

ii.    
A Bid Form and Price schedule (only for online submission) completed in accordance with Clause No. 12 and 13.

iii. Documentary evidence establishing in accordance with Clause No. 19 that Bidder is eligible to bid and is qualified to perform the contract if its bid is accepted.

iv. Documentary evidence establishing that the materials/ equipment and ancillary services to be supplied by the Bidder are as per the Technical specification of the bidding documents; and 

v. Bid Security in accordance with Clause No. 20.

vi. Tax clearance certificate

vii. Schedule of Deviations

i. Commercial

ii. Technical

All the schedules will be duly filled but not necessary in the sheets attached to the specification. Unless full details required in the schedules are furnished, the Bids will be liable for rejection. 

12. Bid Form 

12.1. The Bidder will complete the Bid form and the appropriate Price Schedule (only for online submission) furnished in the bidding documents, indicating the materials/equipment to be supplied, a brief description of the materials/equipment, quantity and prices.

13. Bid Prices 

13.1. The prices quoted will be Firm. Bids will be called for with prices FADS inclusive of packing and forwarding, F&I, GST and other legally permissible duties and levies wherever applicable, handling charges to cover the transport by road from destination railway station to site/stores, unloading at destination and insurance (transit and storage at site for 45 days). Unloading at destination stores is to CPDCL’s account. 

13.2. Even though composite price is given the break-up for all the duties, taxes, freight, insurance, packing and forwarding etc., will be furnished. 

13.3. It is the responsibility of the Bidder to inform himself of the correct rates of duties and taxes leviable on the materials at the time of bidding. 

13.4. The proforma credit available to the bidder on the purchases of inputs (raw materials) consequent to the introduction of “GST’ may be taken into account while quoting the prices. 

13.5. The Bidder will indicate on the appropriate Price Schedule the unit prices (where applicable) and total bid price of the materials/equipment it proposes to supply under the contract.

Prices indicated on the Price Schedule will be entered separately in the following manner.   

The price of the materials/ equipment quoted Ex-Works and ther duties and sales and other taxes payable on the finished materials/ equipment with individual breakup for taxes and duties, packing and forwarding, freight and insurance etc., 

14. Variable prices & price variation provision both on positive side and negative side may be made for the equipment/material such as Transformers, Cables, Conductors & Winding Wires etc., where the variation is expected to be significant.

14.1. Wherever prices quoted are not firm (variable), prices FADS, ED., ST., freight, Insurance, packing, forwarding and other legally permissible duties and levies will be given separately. 

14.2. Quotations will be with prices subject to adjustment up or down as per specific variation formula with reference to the base prices of major raw materials/ components involved which will be detailed in the bid along with the respective percentage costs in the composite price for the finished goods. 

14.3. Whenever IEEMA price variation formula is applicable, the Bidder may quote according to IEEMA formula in force at the time of bidding which will remain the same through out the execution and completion of the order. 

14.4. The quoted prices will be on FADS basis inclusive of transit cum 45 days storage insurance inclusive of all taxes and duties.

14.5. The prices of raw-materials/components will be those at which Bidder actually purchases from their principal suppliers (whose names will be invariably stated) and will not be the landed cost at the Bidder’s work including transport or any other charges. The basic price of raw materials so quoted will remain unaltered during the period of validity of bid as well as during the execution of contract.

14.6. Where IEEMA formula is not applicable and where the raw materials such as Steel, Aluminium, Zinc, Lead and Copper are involved the SAIL/TISCO/ MUKUND price of steel for Zinc and Copper as published by IEEMA and the BALCO/HINDALCO/NALCO/MALCO price of aluminium will be applicable for price variation. The base and final prices/indices will correspond to the same manufacturers. 

14.7. In case of conductors, where the bidder makes his own arrangements to get the properzi rod made out of Aluminium, Ingot, the price of Properzi Rod as prevailing at the time of the bidder obtaining the ingot from the primary producers will only be taken into consideration for arriving at the price variation claims irrespective of whatever expenditure the bidder might have incurred in getting the ingot converted into Properzi Rod. 

14.8. In case where variable prices are quoted, if complete information as above is not given, the bid is liable for rejection.

Irrespective of the increase in the prices of raw materials the price variance (increase) will be limited to maximum of 50% ceiling on positive side and no ceiling on negative side over the original quoted price. 

Note :
In case of Transformers, conductors and LT AB Cables, the above Clause 14.8 may be read as follows: “In case where variable prices are quoted, if complete information as above is not given, the bid is liable for rejection. Price variation on the raw materials as per IEEMA /CACMAI formulae over the original quoted price will be allowed for procurement of power and Distribution Transformers of various capacities, conductors and LT AB Cables”, 
14.9. If the date of delivery as defined in the P.V. formula is beyond the contracted delivery date, the scheduled delivery date or the actual delivery date which ever is advantageous to the purchaser will form the basis for calculation of price variation.

14.10. Not withstanding the formula applicable for regulating the price variation, if at any time any documentary evidence proof or certificate in regard to the price variation 
bills is required by the purchaser, the bidder will have to furnish the same to the purchaser.

14.11. The price for inland transportation, insurance, packing and forwarding and other local costs incidental to delivery of the materials/ equipment to their final destination,

15. Taxes and Duties

15.1 A bidder will be entirely responsible for quoting the correct taxes and duties, other local taxes or levies if any, license fees, etc., he has to incur until completion of the contract. For the purpose of evaluation the bidder should clearly indicate the GST and any other taxes and levies payable in the respective columns provided in the price schedule. Failure to furnish the details as prescribed in the price schedule will be loaded as indicated in the evaluation criteria. If any exemptions on taxes and duties, shall furnish proof of exemption certificate.

15.2 If the rates of statutory levies assumed by the bidder are less than the actual rates prevailing at the time of bidding, the purchaser will not be responsible for such errors. If the rates of statutory levies assumed by the Bidder are later proved to be higher than the actual/correct rates prevailing at the time of bidding, the difference will be passed on to the credit of the purchaser. 
16. Statutory Variations 


Any variation up or down in statutory levy or new levies introduced after Signing of the contract under this specification will be to the account of APCPDCL provided that in cases where delivery schedule is not adhered to by the supplier and there are upward variation/revision after the agreed delivered date the supplier will bear the impact of such levies and if there is downward variation/revision the APCPDCL will be given credit to that extent.  

17. Bid Currencies 


Prices will be quoted in Indian Rupees; and will be paid in Indian Rupees only.

18. Quantity to quote 


Bidder will quote a minimum quantity of at least 20% of the total quantity indicated in the bid specification. Offers less than the minimum prescribed are liable for rejection. 

19. Documents Establishing Bidder’s Eligibility and qualifications 


The Bidder will furnish, as part of its bid, documents establishing the Bidder’s eligibility to bid  and its qualifications to perform the contract if its bid is accepted. 


The documentary evidence of the bidders qualifications to perform the contract of its bid is accepted will establish to the purchaser’s satisfaction. 

a) that the Bidder has the financial, technical, and production capability necessary to perform the contract ;

b) that the Bidder meets the qualification criteria listed in Section IV. In addition the Bidder may furnish full particulars regarding supply of the material in question made so far to APCPDCL during the last 5 years and other reputed utilities.  
19.1. Documents Establishing materials/ equipment conformity to Bidding documents 


The Bidder will furnish as part of its bid, documents establishing conformity to the bidding documents of all materials/equipment and services, which the Bidder proposes to supply under the contract. 


The documentary evidence of conformity of the materials/equipment and the services to bidding documents may be in the form of literature, drawings, and data, and will consist of :  

a) A detailed description of the essential technical and performance characteristics of the materials/equipment. 

b) The bidder should specifically mention about furnishing the test certificates and a specimen form of test certificate should be furnished along with the bid. 

c) A list giving full particulars, including available sources and current prices of spare parts, special tools etc., necessary for the proper and continuing functioning of the materials/equipment following commencement of the use of the materials/ equipment by the purchaser; and

d) An item-by-item commentary on the purchaser’s Technical specifications demonstrating substantial responsive-ness of the materials/equipment and services to those specifications, or a statement of deviations and exceptions to the provisions of the technical specifications.


For purpose of the commentary to be furnished pursuant to above, the Bidder will note that standards for workmanship, material, and equipment, as well as references to brand names or catalogue numbers designated by the Purchaser in its Technical Specifications, are intended to be descriptive only and not restrictive. The Bidder may substitute alternative standards, brand names, and/or catalogue numbers in its bid, provided that it demonstrates to the Purchaser’s satisfaction that the substitutions ensure substantial equivalence to those designated in the Technical Specifications.

20. Bid Security 

20.1. The bidder will furnish, as part of its bid, a Bid Security amount of 2% of the Total Ex-Works value of the materials offered against the bid or the amount specified by the purchaser. This amount should be paid by online payment through ap-eprocurment. Tenders with partial bid security are summarily rejected.

20.2. Submission of BID SECURITY by way of cheque, cash, money order, cash deposit will not be accepted and will be considered as disqualification. 

20.3. This clause is deleted.

20.4. Payment of BID SECURITY will be waived at the discretion of the APCPDCL in the case of fully owned Government undertaking of the Central or State Government. Such undertakings should immediately apply and obtain exemption before submitting their bids. They need only refer to the details of such exemption in their Bids. Exemption accorded by any organization other than APCPDCL will not be considered.

20.5. This clause is deleted.

20.6. Requests for exemption from payment of BID SECURITY will not be entertained in any case.

20.7. This clause is deleted.

20.8. Unsuccessful Bidder’s Bid Security will be discharged or returned as promptly as possible but not later than thirty (30) days after the expiration of the period of bid validity prescribed by the purchaser. 

20.9. The successful Bidders’ Bid security will be discharged upon the bidder signing the contract.

20.10. The Bid Security may be forfeited 

(a) If a Bidder

i. Withdraws its bid or alters its prices during the period of bid validity specified by the Bidder on the Bid Form, or

ii. Does not accept the correction of errors pursuant to clause No. 30.2; or

iii. Offers post Bid rebates, revision or deviations in quoted prices and/ or conditions or any such offers which will give a benefit to the Bidder over others will not only be rejected outright but the original Bid itself will get disqualified on this account and the Bidder’s BID SECURITY will be forfeited. 

(b)
In the case of a successful Bidder, if the Bidder fails :

i. To sign the contract in accordance with clause No.38

ii. To furnish performance security in accordance with clause No. 39. 

20.12 In cases where the Bid cover contains superscription of having furnished Bid Security by way of DD but if the same is not found within, such Bids will be rejected and bidder will run the risk of being banned.

21. Period of validity of Bids

21.1. Bids will remain valid for the period of Ninety (90) days from the date of bid opening prescribed by the purchaser. A bid valid for a shorter period will be rejected.


The bidders should clearly super scribe on the sealed envelopes of the bids about the validity. Bids not containing superscription of validity will be rejected and returned unopened.

21.2. In exceptional circumstances, the purchaser may solicit the Bidder’s consent to an extension of the period of validity. The request and the responses there to will be made in writing (or by cable). The Bid Security provided under clause No. 20 will also be suitably extended. A Bidder may refuse the request without forfeiting its Bids Security. 

22. Tax Clearance certificates 

22.1. Copies of Income Tax, Sales Tax and Turnover Tax certificates for the latest period from the appropriate authority will invariably be enclosed to the bid in the case of proprietary or partnership for it will be necessary to produce the certificate/certificates for the proprietor or proprietors and for each of the partners as the case may be. If the Bidder has already produced the certificate during the calendar year in which the bid is made, it will be sufficient, if particulars are given.

23. Service Conditions 

23.1. The equipment/materials offered will be entirely satisfactory for operation under the climatic conditions indicated below :

a) Maximum ambient air temperature (in shade)

450C

b) Maximum ambient air temperature (under sun)

500C

c) Maximum daily average ambient air temperature

350C

d) Maximum yearly average ambient air temperature
300C

e) Maximum humidity





100%

f) Altitude above M.S.L.




upto 1000 M

g) Average No. of thunder storm days per annum

50

h) Average NO. of dust storm days per annum

Occasional

i) Average No. of rainy days/annum



90

j) Average Annual Rain fall




925 mm

k) Normal tropical monsoon period



4 months

l) Maximum wind pressure




150 Kg/sq.m.

23.2. Due consideration will be given to any special devices or attachments put forward by the Bidder which are calculated to enhance the general utility and the safe and efficient operation of the equipment /materials.

24. Format and Signing of bid.

24.1. The Bidder will prepare an original and one more copies of the bid, clearly marking each “ORIGINAL BID” and “COPY OF BID”, as appropriate. In the event of any discrepancy between them, the original will govern.

24.2. The original and the copies of the bid will be typed and will be signed by the Bidder or a person or persons duly authorized to bind the Bidder to the contract. The person or persons signing the bid will initial all pages of the bid, except for printed literature. 

24.3. Any interlineations, erasures, or overwriting will be valid only if they are initialed by person or persons signing the bid. 
D.
SUBMISSION OF BIDS

25. Sealing and Marking of Bids.

25.1. The Bidder will seal the original and each copy of the bid in separate envelopes, duly marking envelopes as “ORIGINAL: and the “COPY”. The envelopes will then be sealed in an outer envelope. 

25.2. The inner and outer envelopes will ;

a) Be addressed to the purchaser,

25.3. The sealed cover as well as the outer envelope should be super scribed as follows. 

a) Registration No. of the vendor

b) Bid Enquiry No.

c) Due date and time for submission

d) Date and time for opening

e) Payment of Bid Security



i) Give details : through ap e-procurement (online) only


   Name of the Bank:_____________________



   Amount__________________________

f) Whether 90 days validity offered _______ Yes/No

g) Whether the quotation is made accepting payment terms clause ---- Yes/No

h) Whether the delivery is as per delivery schedule indicated --- Yes/No.

i) Whether the sample (if specified) has been enclosed/sent --- Yes/No

25.4. Bids not super scribed as above are liable to be rejected.

25.5. The Bidder will invariably complete the Bid in full. Details to be furnished by the bidder and schedule of prices attached to the specification and enclose the same to the bid without fail.

25.6. The time of actual receipt in the office only will count for the acceptance of the bid and either the date of bid, date stamp of post office or date stamp of any other office will not count. The APCPDCL will not be responsible for any postal or any other transit delays.

25.7. Telegraphic quotations will not be entertained under any circumstances. Clarification, amplifications, and/or any other correspondence from the Bidder subsequent to the opening of bid will not be entertained. The Bidders are advised to ensure that their bids are sent in complete shape at the first instance itself.
25.8. The inner envelopes will also indicate the name and address of the Bidder to enable the bid to be returned unopened in case it is declared “late”.

25.9. If the outer envelope is not sealed and marked as required above, the purchaser will assume no responsibility for the bid’s misplacement or premature opening.

26. Deadline for submission of Bids

26.1. Bids together with modifications if any, or other withdrawals must be received by the Purchaser not later than the deadline for submission of bids specified in the salient features of the Bid. 

26.2. The purchaser may, at its discretion, extend this deadline for the submission of bids by amending the bidding documents in which case all rights and obligations of the purchaser and Bidders previously subject to the deadline will thereafter be subject to the deadline as extended.

27. Late Bids

27.1. Any bid received by the purchaser after the deadline for submission of bids prescribed by the purchaser will be rejected and returned unopened to the Bidder.

27.2. Modification and withdrawal of Bids


The Bidder may modify or withdraw its bid after the bid’s submission, provided that written notice of the modification, including substitution or withdrawal of the bids, is received by the purchaser prior to the deadline prescribed for submission of bids. 


The Bidder’s modification or withdrawal notice will be prepared, sealed, marked, and dispatched. A withdrawal notice may also be sent by cable, but followed by a signed confirmation copy, postmarked not later than the deadline for submission of bids. No bid may be modified after the deadline for submission of bids.

E.
OPENING AND EVALUATION OF BIDS

28. Opening of Bids by the Purchaser

28.1. The purchaser will open all bids meeting above criteria on the date, and at the place specified. 

28.2. The Bidder’s names, bid modifications or with-drawls, bid prices, discounts, and the presence or absence of requisite Bid Security and such other details as the purchaser, at its discretion, may consider appropriate, will be announced at the opening. 

28.3. Bids that are not opened and read out at bid opening will not be considered further for evaluation, irrespective of the circumstances.

29. Clarification of Bids

29.1. During evaluation of the bids, the purchaser may, at its discretion, ask the bidder for a clarification of its, bid. The request for clarification and the response will be in writing, and no change in the prices or substance of the bid will be sought, offered, or permitted. 
30. Preliminary Examination

30.1. The purchaser will examine the bids to determine whether they are complete, whether any computational errors have been made, whether required sureties have been furnished, whether the documents have been properly signed, and whether the bids are generally in order.

30.2. Arithmetical errors will be rectified on the following basis. If there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price will prevail, and the total price will be corrected. If the supplier does not accept the correction of the errors, its bid will be rejected, and its Bid Security may be forfeited. If there is a discrepancy between words and figures, the amount in words will prevail. If the supplier does not accept the correction of the errors, its bid will be rejected and its Bid Security may be forfeited. 

30.3. The purchaser may waive any minor informality, nonconformity, or irregularity in bid which does not constitute a material deviation, provided such waiver doesn’t prejudice or affect the relative ranking of any bidder. 

30.4. Prior to the detailed evaluation, the purchaser will determine the substantial responsiveness of each bid to the bidding documents. For purposes of these clauses, a substantially responsive bid is one, which conforms to all the terms and conditions of the bidding documents without material deviations. Deviations from, or objections or reservations to critical provisions, such as those concerning Bid Security, and Taxes and Duties will be deemed to be a material deviation. The purchaser’s determination of a bid’s responsiveness is to be based on the contents of the bid itself without recourse to extrinsic evidence.

30.5. If a bid is not substantially responsive, it will be rejected by the purchaser and may not subsequently be made responsive by the bidder by correction of the nonconformity.

31. Evaluation and Comparison of Bids

31.1. The purchaser will evaluate and compare the bids, which have been determined to be substantially responsive.

31.2. The purchaser’s evaluation of a bid will take into consideration one or more of the following factors.


All the bids, which are opened, read out and considered for evaluation will be checked for qualification requirements in respect of the technical and commercial aspects. Such of the bids, which do not meet the qualification requirements, will not be evaluated further. The bid is to be checked for its conformity to the technical specification. If it does not meet the technical specification, the Bid will not be evaluated further. However, if in the opinion of the purchaser the bidder has offered equipment/material better than the technical specification the same may be considered. The bid may be rejected for the following reasons :
1. Not in the prescribed form

2. Insufficient bid security or bid not accompanied by the required bid security.

3. Bids not properly signed

4. The bidder is a vendor who is banned from further business transactions and the period of ban is still in force. 

5. Bid received after the due date and time.

6. The bid is through telegram or fax.
· Further, the purchaser may enquire from the bidder in writing for any clarification of the bid. The response of the bidder will also be in writing. However no change in the prices or substance of the bid will be sought, offered or permitted. 

· Bids will be examined for completeness and for any computational errors.

· Arithmetical errors will be rectified on the following basis.

· Where there is a discrepancy between the unit price and total price, the unit price will prevail and the total price will be corrected accordingly.

· Where there is a discrepancy between words and figures, the amount in words will prevail.

· If the bidder does not attest any overwriting in the price column such Bids will be rejected. 

· Failure on the part of the bidder to agree to the above corrections will result in rejection of his offer and forfeiture of his bid security.
· It will be ensured that the required sureties have been furnished and that the documents have been properly signed.
· The purchaser’s evaluation of a bid shall take into consideration one or more of the following factors. 
a) Delivery schedule offered in the bid;

b) Deviations in payment schedule from that specified in the general terms and conditions of the contract and technical deviations.

c) The cost of components, mandatory spare parts, and service;

d) The availability of spare parts and after-sales services for the equipment offered in the Bid;
e) The projected operating and maintenance costs during the life of the equipment;


The performance and productivity of the equipment offered; Other specific criteria indicated in the Bidding documents.


In addition the purchaser’s evaluation of a bid will take into account the net landed cost of the material at the final destination. For the purpose of evaluation net landed cost is arrived at by adding all elements of the basic price, allowable discount, any other levies, packing and forwarding, freight charges, insurance (transit & storage) as quoted by the bidder, interest on advance if any, unloading at final destination, erection, servicing and other charges as called for.   


In addition any variation up or down in taxes and duties/new levies introduced  subsequent to bid opening and before award will be considered for comparison purposes.

The following criteria may be adopted for taxes and duties for evaluation.

a) It is the responsibility of the bidder to quote all taxes and duties correctly without leaving any column unfilled (see samples form 1). Where taxes and duties are not applicable the bidder should enter “NA”. If no duty/tax is leviable the same may be entered as “NIL”. If any column is left blank or filled vaguely like “as applicable”, the same will be loaded with the maximum of the other eligible Bids.

b) Where there is an exemption of GST the documentary evidence to that effect will be enclosed by the supplier.
c) The bidders for supply and works shall invariably possess the TIN Number and PAN Number for the bids above Rs.5.00 lakhs and this must be verified before entering into contract.

*
Prior to detailed evaluation, the responsiveness of each bid will be determined. A substantially responsive bid is one that conforms to al the terms and conditions of the bidding documents without materials deviations. For this purpose superscription, qualification requirement, bid security, validity, delivery, payment term, price schedule, taxes and duties will be deemed to be the critical provisions and deviations in any one of these items will be deemed to be a material deviation. 


The purchaser may waive any minor informality, non-conformity or irregularity in the bid which does not constitute a material deviation, provided such waiver does not affect the relative ranking of any bidder. The purchaser will clearly indicate in the bid specification the methodology for evaluation of bids.

a) Bid price, which will include all, costs of manufacture and services at manufacturing places as well as, Transportation to destination stores, packing and forwarding, insurance and all taxes and other legally permissible duties & levies payable.  

b) Delivery schedule offered in the bid.

c) Deviations in payment schedule from that specified in the general terms and conditions of the contract.
d) The cost of components, mandatory spare parts, and service.
e) The availability of spare parts and after-sales services for the equipment offered in the Bid;
f) The projected operating and maintenance costs during the life of the equipment.

g) The performance and productivity of the equipment offered; and/or

h) Other specific criteria indicated in the Bid specification.

31.3(a)
The purchaser’s evaluation of a bid will take into account the Net Landed Cost of the material at destination stores inclusive of all taxes and duties quoted by the Bidder. It is the responsibility of the bidder to quote all taxes and duties correctly without leaving any column unfilled. Where not applicable the column may be filled as “NA”. If no duty/tax is leviable the same may be filled as “NIL”. If any column is left blank the same is loaded with maximum of other eligible Bids. If any overwriting is not attested by the bidder in the price schedule such Bids will be rejected.

(b)
Any statutory variations of taxes and duties and new levies imposed after opening of the bid and before award of the contact will be taken into consideration for the purpose of evaluation.

31.3. A substantially responsive bid is one, which conforms to all the terms and conditions of the bidding documents without material deviations. For this purpose superscription, qualification requirement, bid security, validity, delivery, payment term, price schedule, submission of type test certificates (as per Clause 4 section-IV), taxes and duties will be deemed to the critical provisions and deviations in any one of these things will be deemed to be a material deviation.

32. Contacting the Purchaser.

32.2 From the time of the opening to the time of contract award, if any Bidder wishes to contact the purchaser on any matter related to the bid, it should do so in writing.

32.3 Any effort by a bidder to influence the purchaser in its decisions on bid evaluation, bid comparison, or contract award will result in the rejection of the Bidder’s bid.

F. AWARD OF CONTRACT 

33 Post Qualification

33.1 In the absence of pre-qualification, the purchaser will determine to its satisfaction whether the Bidder that is selected as having submitted the lowest evaluated responsive bid is qualified to perform the contract satisfactorily. 

33.2 The determination will take into account the Bidder’s financial, and production capabilities. It will be based upon an examination of the documentary evidence of the Bidder’s qualification submitted by the Bidder, as well as such other information as the Purchaser deems necessary and appropriate.
34 Award Criteria :

34.1. The Purchaser will award the contract to the successful Bidder/Bidders whose bid has/have been determined to be substantially responsive.  L1 bidder will be decided based on the landed price in the e-procurement duly considering F&I and inclusive of GST.

35. Purchaser’s Right to Vary Quantities at the time of Award

35.1. The purchaser reserves the right at the time of contract award to increase or decrease the quantity of materials/equipment and services originally specified in the Schedule of Requirements without any change in unit price or other terms and conditions.

35.2. The purchaser reserves the right to vary the ordered quantity  upto 50% during the execution of the contract.

36. Purchaser’s right to accept any bid and to reject any or all Bids

36.1. The Purchaser reserves the right to accept or reject any bid, and to annual the bidding process and reject all bids at any time prior to contract award, without thereby incurring any liability to the affected Bidder or Bidders or any obligation to inform the affected Bidder or Bidders.

37. Notification of Award

37.1. Prior to the expiration of the period of bid validity, the purchaser will notify the successful bidder in writing by registered letter or by cable, to be confirmed in writing by registered letter, that its bid has been accepted.

37.2. The notification of award will constitute the formation of the contract. 

37.3. Upon the successful Bidder’s furnishing of the performance security, the purchaser enters into contract with successful Bidder/Bidders. The purchaser will notify each unsuccessful Bidder and will discharge its bid Security. 

38. Signing of contract


The Purchaser notifies the successful Bidder that its bid has been accepted. Within 30 days (thirty days) of receipt of notification of award of contract, the successful Bidder will sign and date the contract. Failure to comply with this stipulation will entail cancellation of the contract besides forfeiture of the bid security.

39. Performance Security

39.1. Within fifteen(15) days of receipt of the notification of Contract award, the successful Bidder will furnish to the purchaser the performance security for an amount of 10% of the contract value for proper fulfillment of the contract, which will include the warranty period, and completion of performance obligations including warranty obligations. The performance security will cover 6 Months beyond the date of completion of performance obligations including warranty obligations.

39.2. The proceeds of the performance security will be payable to the purchaser as compensation for any loss resulting from the supplier’s failure to complete its obligations under the contract. 

39.3. The performance security will be ….

a) A bank guarantee issued by a scheduled bank acceptable to the purchaser, in the form provided in the bidding documents.

39.4. The performance security will be discharged by the purchaser and returned to the supplier not later than sixty (60) days after the expiry date.

39.5. This clause is deleted.

39.6. Failure of the successful Bidder to comply with the above requirement will entail cancellation of the award and forfeiture of the Bid Security. 

40. Corrupt or Fraudulent Practices 


It is essential that the purchaser as well as Bidder/supplier/contractor for the purposes of this provision, the terms set forth below as follows :

(i) “Corrupt practice” means the offering, giving, receiving or soliciting of any thing of value to influence the action of a public official in the procurement process or in contract execution, and

(ii) “Fraudulent Practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detrimental of the purchaser, and includes collusive practice among Bidders (prior to or after bid submission) designed to establish bid prices at artificial non-competitive levels and to deprive the purchaser of the benefits of free and open competition;

(iii) Will reject a proposal for award if it determines that the Bidder recommended for award has engaged in corrupt or fraudulent practices in competing for the contract in question;

(iv) Will declare a firm ineligible, either indefinitely or for a stated period of time, to be awarded a contract if it at anytime determines that the firm has engaged in corrupt or fraudulent practices in competing for, or in executing, a contract.

41. Use of contract Documents and Information

41.1. The supplier will not, without the purchaser’s prior written consent, disclose the contract, or any provision thereof, of any specification, plan, drawing, pattern, sample, or information furnished by or on behalf of the purchaser in connection therewith, to any person other than a person employed by the Supplier in the performance of the contract. Disclosure to any such employed person will be made in confidence and will extend only so far as may be necessary for purposes of such performance.

41.2. The supplier will not, without the purchaser’s prior written consent, make use of any document or information except for purpose of performing the contract.

41.3. Any document, other than the contract itself, will remain the property of the purchaser and will be returned (in all copies) to the purchaser on completion of the supplier’s performance under the contract if so required by the purchaser.

41.4. The supplier will permit the purchaser or his authorized representative to inspect the supplier’s accounts and records relating to the performance of the supplier and to have them audited by auditors appointed by the supplier.

42. Patent Rights

42.1. The Supplier will indemnify the Purchaser against all third-party claims of infringement of patent, trademark, or industrial design rights arising from use of the materials/ equipment of any part thereof. 
43. Places/ Locations :

43.1. Particulars of site location and nearest rail heads to which the equipments/ material have to be supplied will be given to successful bidders.

44. Delivery

44.1. Delivery period will be reckoned from the date of signing of the contract. The delivery quoted will be firm, definite, unconditional and on the basis of receipt of materials at destination in good condition without any bearing on the procurement of raw materials or any similar prerequisites. The commencement date and date of delivery will be indicated. The preferred delivery time, which is the essence of this specification, is indicated in the schedule. Final deliveries are however, subject to confirmation at the time contract. Delay in delivery of materials FADS (Free at destination store) due to non-availability of railway booking non-allotment of wagons and any such reasons will not be considered. It is the responsibility of the supplier to make alternative arrangements for transporting the materials by road or rail so as to see that the material reaches the destination within the stipulated period. The purchaser reserves its right to defer the delivery date at any time after orders are placed without any change in the conclusion of contract other condition supply. The delivery period, which will be reckoned from the date of the contract, will 
be guaranteed under penalty as in clause 61. 
45. Inspections and Tests

(i) The supplier will keep the purchaser informed in advance of the time of the starting and the progress of manufacture of equipment in its various stages so that arrangement could be made for inspection. The accredited representative of the APCPDCL will have access to the supplier’s or his subcontractor’s work at any time during working hours for the purpose of inspecting the materials during manufacturing of the materials/equipment and testing and may select test samples from the materials going into plant and equipment. The supplier will provide the facilities for testing such samples at any time including access to drawings and production data at no charge to purchaser. As soon as the materials are ready the supplier will duly send intimation to APCPDCL by Regd. Post and carry out the tests in the presence of representative of the APCPDCL.

(ii) The APCPDCL may at its option get the materials inspected by the third party if it feels necessary and all inspection charges in this connection will be borne by the supplier.

(iii) The dispatches will be affected only if the test results comply with the specification. The dispatches will be made only after the inspection by the APCPDCL officer is competed to the APCPDCL satisfaction or such inspection is waived by the competent authority.

(iv) The acceptance of any quantity of materials will in no way relieve the supplier of its responsibility for meeting all the requirements of this specification and will not prevent subsequent rejection if such materials are later found to be defective.

(v) The supplier will give 15 days advance intimation to enable the purchaser depute his representative for witnessing the acceptance and routine tests. 

(vi) Should any inspected or tested materials/equipment fail to conform to the specification, the purchaser may reject the materials and supplier will either replace the rejected materials or make alternations necessary to meet specifications requirements free of costs to the purchaser.

(vii) In the case of transformers, instrument transformers and meters, inspection will be conducted every year, for the first 5 years on a 2% sample of the quantities supplied. Samples will be collected at random to establish that the guaranteed technical parameters are as per the submitted bid by the supplier. In the case of non-adherence, the purchaser may take suitable action on the supplier including cancellation of vendor registration and banning further dealings, depending on the gravity of the deviation. These random inspections may be entrusted to a third party. 
46. Name Plate :


Equipment should be provided with name plate giving full details of manufacture, capacities and other details as specified in the relevant ISS or other specification stipulated. The P.O. No. and date, year of supply, period of warranty and the words “APCPDCL” must be etched on the name plate.

47. Packing

47.1. The Supplier will provide such packing of the materials/ equipment as is required to prevent their damage or deterioration during transit to their final destination, as indicated in the Contract. The packing will be sufficient to withstand, without limitation, rough handling during transit and exposure to extreme temperatures, salt and precipitation during transit, and open storage. Packing case size and weights will take into consideration, where appropriate, the remoteness of the materials/equipment final destination and the absence of heavy handling facilities at all points in transit.
47.2. The packing, making, and documentation and outside the packages will comply strictly with such special requirements as will be expressly provided for in the contract and in any subsequent instructions ordered by the purchaser. The supplier will be required to make separate packages for each consignee, each package will be marked on three sides with proper paint/indelible ink with the following ;

1. Contract Number

2. Supplier’s name

3. packing list reference number

47.3. The supplier, whenever dispatches material to a destination should prepare the following information in the form of packing slip in quadruplicate and send the same to the consignee and obtain his acknowledgement. The consignee will return to the supplier one copy of the packing slip with his remarks. The proforma of packing slip will be as follows. 
PACKING SLIP

1. Contract No. & Date

2. Quantity allotted to the stores and rate applicable

3. Quantity so far supplied to the stores and the rate applied.

4. Quantity now supplied and the rate applied. 

5. Total quantity supplied under the contract with rates supplied.

6. Programme for supplying the balance quantity to the stores.

48. Delivery Documents 

48.1. Delivery of the materials/equipment will be made by the supplier in accordance with the terms specified in the contract.


The latest test certificates containing the result of the tests as per the relevant ISS or other specification stipulated must be submitted to the Chief General Manager and got approved by him.

48.2. Documents to be submitted by the supplier are specified as under …

(i)
Insurance certificate ;

(ii)
Supplier’s certificate certifying that the defects if any pointed out during inspection have been rectified (3 copies).

(iii)
Manuals in six sets and one set of reproducible drawings. 


The purchaser will receive the above documents soon after the dispatch of materials and if not received, the supplier will be responsible for any consequent expenses.

49. Insurance

49.1. The materials/equipment  will be fully insured against loss or damage incidental to manufacturer or acquisition, transport, storage and delivery in the manner specified in the contract and also storage for 45 days at the destination site or stores before taking into stock. 

Insurance will be in an amount equal to 100% value of material/equipment on all risks basis.  The policy will have a provision for extension to cover further storage, if necessary, at the destination site or stores at the purchaser’s cost.  The insurance beneficiary shall be AP Transco/ Discoms. 
50. Transportation

50.1. The Supplier is required under the Contract to transport the materials/ equipment to a specified place of destination defined as normally the district stores, transport to such place of destination, including insurance and storage, will be arranged by the supplier, and the related costs will be included in the contract price only.

51. Incidental Services

51.1. The Supplier may be required to provide any or all of the following services, including additional services, if any

a) Performance or supervision of on-site assembly and/or start-up of the supplied materials/equipment.

b) Furnishing of tools required for assembly and/or maintenance of the supplied materials/equipment ;

c) Furnishing of a detailed operations and maintenance manual for each appropriate unit of the supplied materials/equipment. 

d) Performance or supervision or maintenance and/or repair of the supplied materials/equipment, during warranty period, provided that this service will not relieve the supplier of any warranty obligations under this contract ; and

e) Training of the purchaser’s personnel, at the supplier’s plant and/or on-site, in assembly, startup, operation, maintenance, and/or repair of the supplied materials/equipment.

52. Spare Parts

52.1. The supplier may be required to provide any or all of the following materials, notifications, and information pertaining to spare parts manufactured or distributed by the supplier. 

a) Such spare parts as the purchaser may choose to purchase from the supplier, provided that this selection will not relieve the supplier of any warranty obligations under the contract; and 

b) In the event of termination of production of the spare parts;

c) Advance notification to the purchaser of the impending termination.

d) Time to permit the purchase to procure needed requirement; and following such termination, furnishing at no cost to the purchaser, the blueprints, drawings, and specifications of the spare parts; if requested. 

53. Warranty

53.1. The supplier will warrant for the satisfactory functioning of the material/ equipment as per specification for a minimum period of 18 months from the date of receipt of the material/equipment in good condition except for transformers, Energy meters and VCBs etc. and for transformers, meters and VCBs the warranty shall be as mentioned in Section ‘Technical Specifications of Volume-I’.  

53.2. The Supplier warrants that the materials/equipment supplied under the contract are new, unused, of the most recent or, current models, and that they incorporate all recent improvements in design and materials unless provided otherwise in the contract. The supplier further warrants that all materials/equipment supplied under this contract will have no defect, arising from a design and/or materials as required by the purchaser’s specifications or from any act of omission of the supplier, that may develop under normal use of the supplied materials/equipment. 

53.3. All the material will be of the best class and will be capable of satisfactory operation in the tropics under service conditions indicated in clause 23.1 without distortion or deterioration. No welding filing or plugging of defective parts will be permitted, unless otherwise specified, they will conform to the requirements of appropriate Indian, British or American Standards. (Where a standard specification covering the material in question has not been published, the standards of the American Society for testing of materials should be followed). 

53.4. The entire designs and constructions will be capable of withstanding the severest stresses likely to occur in actual service and of resisting rough handling during transport.

53.5. Unless otherwise specified the warranty period will be 18 months from the date of acceptance of the materials/ equipment. The supplier will, in addition, comply with the performance guarantees specified under the contract. If, for reasons attributable to the supplier, these guarantees are not attained in whole or in part, the supplier will at its discretion either, make such changes, modifications, and/or additions to the materials/equipment or any part thereof as may be necessary in order to attain the contractual guarantees specified in the contract at its own cost and expense and to carry out further performance tests as per the relevant standards. 

53.6. The purchaser will promptly notify the supplier in writing of any claims arising under this warranty.

53.7. “Upon receipt of such notice, the Supplier will within 30 days repair or replace the defective materials/ equipment or pars thereof, free of cost at the ultimate destination. The supplier will take over the replaced parts/ materials/equipment at the time of their replacement. No claim whatsoever will lie on the purchaser for the replaced parts/materials/equipment thereafter. In the event of any correction of defects or replacement of defective material during the warranty period, the warranty for the corrected/replaced material will be extended to a further period of 12 months. 

53.8. If the Supplier, having been notified, fails to remedy the defect(s) within the above period, the purchaser may proceed to take such remedial action as may be necessary, at the supplier’s risk and expense duly deducting the                                                                     expenditure from subsequent bills/bank guarantee and without prejudice to any other rights which the purchaser may have against the supplier under the contract.

54. Payment

54.1. 100% payment will be arranged on or after 30 days from the date of Form-13, i.e., receipt of material/ equipment in good condition at the destination stores or after submission of bills in complete shape with other necessary enclosures whichever is later duly transferring the said amount to the bank account of the supplier by the purchaser bank. The supplier will have to predefine the bank details while entering into contract.  

54.2. The 100% payment mentioned above is subject to submission of performance security as per clause 39 by the supplier.

54.3. The supplier should invariably submit test certificates and other documents, the purchaser specifies as soon as dispatch is made so that they can be checked and approved well in advance.

54.4. The performance guarantee to be executed in accordance with this specification will be furnished on a stamp paper of value Rs. 100/-. The Bank Guarantee will be extended if required suitably. In accordance with the provisions of clause No. 39.

54.5. If the supplier has received any over payments by mistake or if any amounts are due to the APCPDCL due to any other reason, when it is not possible to recover such amounts under the contract resulting out of this specification, the APCPDCL reserves the right to collect the same from any other amount and/or Bank Guarantees given by the company due to or with the APCPDCL. 

54.6. When the supplier does not at any time, fulfill his obligations in replacing/ rectifying etc., of the damaged/defective materials in part or whole promptly to the satisfaction of the APCPDCL Officers, the APCPDCL reserves the right not to accept the bills against subsequent dispatches made by the supplier and only the supplier will be responsible for any demurrages, wharf ages or damage occurring to the consignments so dispatched.  
55. Prices

55.1. Prices charged by the supplier for materials/equipment delivered and service performed under the contract will not vary from the prices quoted by the supplier in its bid, with the exception of any price adjustment authorized in the contract. 

56. Change Orders

56.1. The purchaser may at any time, by a written order given to the Supplier make changes within the general scope of the contract in any one or more of the following

a) Drawings, designs  or specifications, where materials/equipment to be furnished under the contract are to be specifically manufactured for the purchaser;

b) The method of shipment or packing;

c) The place of delivery; and /or

d) The services to be provided by the supplier.

57. Contract Amendments 

57.1. No variation in or modification of the terms of the Contract will be made except by written amendment by the purchaser and accepted by the supplier.

58. Assignment 

58.1. The Supplier will not assign, in whole or in part, its obligations to perform under this contract, except with the purchasers, prior written consent.

59. Delay in Supplier’s performance

59.1. Delivery of the materials/equipment will be made by the Supplier in accordance with the time schedule prescribed by the purchaser in the schedule of Requirements. 

59.2. If at any time during performance of the contract, the supplier should encounter conditions impeding timely delivery of the materials/equipment, the Supplier will promptly notify the purchaser in writing of the fact of the delay, its likely duration and its cause(s). As soon as practicable after receipt of the supplier’s notice, the purchaser will evaluate the situation and may at its discretion extend the suppliers time for performance, with or without liquidated damages, in which case the extension will be ratified by the parties by amendment of the contract.

59.3. Except as provided under “force majeure” clause a delay by the Supplier in the performance of its delivery obligations will render the supplier liable to the imposition of liquidated damages unless an extension of time is agreed upon without the application of liquidated damages. 

60. Penalty for delay in supplies


The time for and the dates for delivery mentioned in the contract will be deemed to be the essence of the contract subject to “force majeure” clause No. 64, if the supplier failed to deliver any or all of the materials /equipment or to perform the services within the periods(s) specified in the contract, the purchaser will, without prejudice to its other remedies under the contract, deduct from the contract price, as liquidated damages, a sum equivalent to 0.5% per week on the undelivered portion subject to a maximum of 5% of the cost of materials undelivered in time. Once the maximum is reached the purchaser may consider termination of the contract. 


The actual date of receipt of materials at destination stores in good condition, subject to check measurement will be taken as the date of delivery for considering penalty clause. Materials / Equipment which are not of acceptable quality or are not confirming to the specification would be deemed to be not delivered. For penalty, the number of days would be rounded of to the nearest week and penalty calculated accordingly.


The penalty specified above will be levied and would be adjusted against subsequent pending bills.

61. Termination for Default. 

61.1. The Purchaser, without prejudice to any other remedy for breach of Contract, by written notice of default sent to the Supplier, may terminate this Contract in whole or in part.
i. If the Supplier fails to deliver any or all of the Materials / equipment within the period(s) specified in the Contract, or within any extension thereof granted by the Purchaser.

ii. If the Supplier, fails to perform any other obligation(s) under the Contract.

iii. If the Supplier, in the judgment of the Purchaser has engaged incorrupt or fraudulent practices in competing for or in executing the Contract.

61.2. In the event the Purchaser terminates the Contract in whole or in part, the Purchaser may procure, upon such terms and in such manner, as it deems appropriate, Materials / equipment or services similar to those undelivered, and the Supplier will be liable to the Purchaser for any excess costs for such similar materials / equipment or Services. However, the Supplier will continue performance of the Contract to the extent not terminated.

62. Termination for Insolvency

62.1. The Purchaser may at any time terminate the Contract by giving written notice to the Supplier if the Supplier becomes bankrupt or otherwise insolvent. In this event, termination will be without compensation to the supplier, provided that such termination will not prejudice or not affect any right of action or remedy, which has accrued or will accrue thereafter to the Purchaser.

63. Termination for Convenience 

63.1. The Purchaser, by written notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience. The notice of termination will specify the termination is for the Purchaser’s convenience, the extent to which performance of the supplier under the Contract is terminated, and date upon which termination becomes effective.

63.2. However the Materials / equipment that are complete and ready for shipment within thirty (30) days after the supplier’s receipt of notice of termination will be accepted by the Purchaser at the Contract terms and prices.

64. Force Majeure

64.1. The Supplier will not be liable for forfeiture of its performance security, penalty for late delivery, or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the contact is the result of an event of Force majeure.

64.2. For purpose of this clause, “Force Majeure” means an event beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable. Such events may include, but are not restricted to, wars or revolutions fires, floods, epidemics, quarantine restrictions, and freight embargoes.

64.3. If a Force majeure situation arises, the supplier will promptly notify the purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier will continue to perform its obligations under the contract as far as is reasonably practice, and will seek all reasonable alternative means for performance not prevented by the Force Majeure event.

No price variance will be allowed during the period of Force Majeure. 

65. Settlement of Disputes

65.1. If any dispute or difference of any kind whatsoever will arise between the purchaser and the Supplier in connection with or arising out of the contract, the parties will make every effort to resolve amicably such dispute or difference by mutual consultation. 

65.2. If, after thirty (30) days the parties have failed to resolve their dispute or difference by such mutual consultation, then either the purchaser or the supplier may give notice to the other party of its intention to commence arbitration, as hereinafter provided, as to the matter in dispute, and no arbitration in respect of this matter may be commenced unless such notice is given. 
65.3. Any dispute of difference in respect of which a notice of intention to commence arbitration has been given in accordance with this clause will be finally settled by arbitration. Arbitration may be commenced prior to or after delivery of the materials/ equipment under the contract. 
65.4. Arbitration proceedings will be conducted in accordance with the following rules of procedure. The dispute resolution mechanism will be as follows :

a) In the case of a dispute or difference arising between the purchaser and a supplier relating to any matter arising out of or connected with this agreement, such dispute or difference will be settled in accordance with the Arbitration and Conciliation Act. 1996. The Arbitral Tribunal will consist of three Arbitrators one each to be appointed by the Purchaser and the supplier the Third Arbitrator will be chosen by the two arbitrators so appointed by the parties and will acts as Presiding Arbitrator. In case of failure of the two Arbitrators appointed by the parties to reach upon a consensus within period of 30 days from the appointment of the Arbitrator appointed subsequently, the Presiding Arbitrator will be appointed by The Institution of Engineers (India).

b) If one of the Parties fails to appoint its Arbitrator in pursuance of Sub-Clause (a) within 30 days after receipt of the notice of the appointment of its Arbitrator by the Institution of Engineers (India), will appoint the Arbitrator. A certified copy of the order of the Institution of Engineers (India), making such an appointment will be furnished to each to the parties.  

c) Arbitration proceedings will be held at purchaser’s Headquarters, and the language of the Arbitration proceedings and that of all documents and communication between the parties will be English. 

d) The decision of the majority of Arbitrators will be final and binding upon both parties. The cost and expenses of Arbitration proceedings will be paid as determined by the Arbitral Tribunal. However, the expenses incurred by each party in connection with the preparation, presentation etc., of its proceedings as also the fees and expenses paid to the Arbitrator appointed by such party or on its behalf will be borne by each party itself. 

e) Where the value of the contract is Rs. one crore and below, the disputes or differences arising will be referred to the Sole Arbitrator. The sole arbitrator should be appointed by agreement between the parties; failing such agreement, by the appointing authority namely The Institution of Engineers (India).

65.5. Notwithstanding any reference to arbitration herein

a) The parties will continue to perform their respective obligations under the contract unless they otherwise agree; and

b) The Purchaser will pay the supplier any amount due to the supplier. 

66. Jurisdiction

66.1. All and any disputes or differences arising out of or touching this contract will be decided by the courts at Hyderabad or Tribunals situated in Purchaser’s Headquarters only. No suit or other legal proceedings will be instituted elsewhere.

67. Notices

67.1. Any notice given by one party to the other pursuant to this Contract will be sent to the other party in writing or by cable, telex, or facsimile and confirmed in writing to the other party’s address.
67.2. A notice will be effective when delivered or on the notice’s effective date, whichever is later.
68. Foreign Exchange  

68.1. No Foreign Exchange is available or expected for this purchaser. Offers which do not require release of F.E. or procurement of import license by APCPDCL only will be considered. Where some of the components are to be imported the manufacturer will have to make their own arrangements for import license etc., and should not look for any assistance from APCPDCL.

SECTION –VI
QUALIFICATION REQUIREMENTS 
1. The bidder should be a manufacturer/registered vendors of APCPDCL, who must have designed, manufactured, tested and supplied to power utilities at least 40% of the quoted quantity of the goods / equipment of same or higher voltage class indicated in the “Schedule of Requirement” in one continuous period of 12 months  and its financial turnover during any one year of the last five years should have been equal or more than 100% value of the material of latest purchase order of CPDCL. The bidder should furnish documentary evidence in proof of 40% supplies (Form-13 acknowledged delivery challans along with PO copy).


At least 20% of same material offered against this specification should be in successful operation, since 2 years as on the date of opening of the bid (Performance Certificate shall be enclosed)
2. The bidder should furnish the information on all past supplies and satisfactory performance in proforma under Form 6.
3. All bids submitted will also include the following information:

i.
Copies of original documents defining the constitution or legal status, place of registration and principle place of business or the company or firm or partnership, etc.,

ii.
The bidder should furnish a brief write-up, backed with adequate data, explaining his available capacity and experience (both technical and commercial) for the manufacture and supply of the required equipment within the specified time of completion after meeting all their current commitments.

iii.
The bidder should clearly confirm that all the facilities exist in his factory for inspection and testing and these will be made available to the purchaser or his representative for inspection.
iv.
Reports on financial standing of the Bidder such as profit and loss statement, balance sheets and auditor’s report for the past three years, bankers certificates etc.

4. The bidder will furnish Type Test Results. The type tests must have been conducted on the material offered as per the relevant IS in recognized laboratory having NABL accreditation as per the latest revision of the Technical Specification and the date of type tests will not be later than 5 years subject to no alternation in the design.  The bids received without type test reports will be treated as non-responsive “if any change in design was made latest type tests shall be furnished”.  

5. Even though the bidder meets the above qualifying criteria, they are subject to be disqualified  if they have….
a.
made misleading or false representations in the forms, statements and attachments submitted in proof of qualification requirements  and / or 

b.
record of poor performance such as not properly completing the contract, inordinate delays in supply, completion, litigation history or financial failure etc.
6. Not withstanding anything stated above purchaser reserves the right to assess bidder’s capability and capacity to perform the contract, should circumstances warrant such an assessment in the overall interest of the purchaser.
7. The bidder must furnish the details as indicated in FORM No. 7 of Section-III (i.e., Details to be furnished by the manufacturers/registered vendors of APCPDCL). 
8. The relation ship with any TRANSCO/DISCOM employee must be disclosed by the bidders.

9. “Any bidder/company blacklisted by any A.P. Power utility will be disqualified”.

SECTION – VII
SAMPLE FORMS

1. BID FORM AND PRICE SCHEDULES


Date:…………


TO : (Name and Address of Purchaser)


Gentlemen and /or Ladies :


Having examined the Bidding documents, the receipt of which is hereby duly acknowledged, we, the undersigned, offer to supply and  deliver. _____________ (Description of Materials/ equipment) in conformity with the said bidding documents for the sum of ________ (total bid amount in words and in figures) or such other sums as may be ascertained in accordance with the schedule of prices attached herewith and made part of this Bid.


We undertake, if our Bid is accepted, to deliver the materials/equipment in accordance with the delivery schedule specified in the Schedule of Requirements. 


We agree to abide by this Bid upto ____________ (for the Bid validity period) specified in clause and it will remain binding upon us and may be accepted at any time before the expiration of that period. 


Until a formal contact is prepared and executed, this Bid, together with your written acceptance thereof and your notification of award, will constitute a binding contract between us.


We understand that you are not bound to accept the lowest or any bid you may receive.


We certify/confirm that we comply with the eligibility requirements as per clause of the bidding documents.


Dated this ………… day of ………. 2010

________________________________


________________________________


(Signature)







(In the capacity of)


Duly authorized to sign bid for and on behalf of



2) PRICE SCHEDULE

	Sl No
	Name of material
	Quantity required
	APCPDCL delivery Schedule
	Quantity offered by the Bidder
	Whether firm or variable

	1
	2
	3
	4
	5
	6


	Free at Destination Stores
	GST
	Any other tax/duties (Specify)
	Unit 

Price 
	Discount if any
	Total price Rs. Ps.
	Remarks

	Ex-Works price per unit
	Packing and Forwarding Freight and Insurance
	
	
	
	
	
	

	7
	8
	9
	10
	11
	12
	13
	14


Note      :
Columns 1 to 4 to be filled in by the purchaser and the remaining columns are to be filed by the Bidder. 

Signature of the Bidder

2.A.      BID SECURITY FORM

THIS CLAUSE IS DELETED.

2.B.        PERMANENT BID SECURITY FORM

THIS CLAUSE IS DELETED.

2.C.     AGREEMENT TO PERMANENT BID SECURITY

THIS CLAUSE IS DELETED.

3. CONTRACT FORM

THIS AGREEMENT made the _______ day of _______ 2010    between ________ (Name of Purchaser) on one part and _________ (Name of Supplier) on the other part :

WHEREAS the Purchaser invited bids for certain materials/ equipment and ancillary service viz.,………………………………………………………………………………………………
…………………. (Brief description of materials/equipment and Services) and has accepted a bid by the Supplier for the supply of those materials/equipment and services in the sum of ……………… (Contract Price in Words and Figures) (hereinafter called “ the contract price”).

NOW THIS AGREEMENT WITNESSTH AS FOLLOWS

1. In this agreement words and expressions will have the same meanings as are respectively assigned to them in the Conditions of Contract referred to.

2. The following documents will be deemed to form and be read and constructed as part of this Agreement, viz.,

a) The Bid Form and the price schedule submitted by the Bidder;

b) The Schedule of Requirements;

c) The Technical Specifications;

d) The General Conditions of Contract;

e) The Purchaser’s Notification of Award.

3. In consideration of the payments to be made by the Purchaser to the Supplier as hereinafter mentioned, the supplier hereby covenants with the Purchaser to provide the materials/equipment and services and to remedy defects therein in conformity in all respects with the provisions of the contract.

4. The Purchaser hereby covenants to pay the Supplier in consideration of the provision of the materials/equipment and services and the remedying 

of defects therein, the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and in the manner prescribed by the Contract. 

Brief particulars of the materials/equipment and services which will be supplied/provided by the Supplier are as under :

	Sl. NO.
	Brief Description of materials/ Equipment and services
	Quantity to be supplied 
	Unit Price

Rs.
	Total Price Rs.
	Delivery Terms

	
	
	
	
	
	

	
	
	
	
	
	


TOTAL VALUE : (Rupees _____________________________________ only)
DELIVERY SCHEDULE 

IN WITNESS whereas the parties hereto have caused this Agreement to be executed on the day and year first above written.

Signed, Sealed and Delivered by the 

Said, ……………………….. (for the Purchaser)

In the presence of ……………..

Singed, Sealed and Delivered by the 

Said ………………………. (for the Supplier)

In the presence of ……………..

NOTE : To be executed on Rs. 100/- Non-Judicial stamp paper.

4.  PERFORMANCE SECURITY FORM

To ________ (Name of the Purchaser)

Applicable to the State Bank of India and other Scheduled Banks approved in terms of the Government of India.  Ministry of Finance, Office Memorandum No. F(27)-F-1/54 dated the 25th February, 1995 for guarantee without deposit of securities upto prescribed limit.
WHERE AS ……………………. (Name of Supplier) (herein after called “the Supplier”) has undertaken, in pursuance of contract No. ………… dated……..2010 to supply . ………… (Description of Materials/equipment and Services)

(herein after called “the Contract”).

AND WHEREAS it has been stipulated by you in the said contract that the supplier will furnish you with a Bank guarantee by a recognized bank for the sum specified therein as security for compliance with the Supplier’s performance obligations in accordance with the Contract.

AND WHEREAS we have agreed to give the supplier a Guarantee :

THEREFORE WE hereby affirm that we are Guarantors and responsible to you, on behalf of the Supplier, up to total of ………………. (Amount of the Guarantee in Words and Figures) and we undertake to pay you, upon your first written demand declaring the Supplier to be in default under the Contract and without cavil or argument, any sum or sums within the limit of ………….. (Amount of guarantee) as aforesaid, without your needing to prove or to show grounds or reasons for your demand or the sum specified therein.

This guarantee is valid until the ………. Day of ……..2010

Signature and Seal of Guarantors

…………………………………

Date . …………………. 

…………………………………

Address : ………………………

…………………………………

NOTE : 1) This will be executed on Rs. 100/- non-judicial stamp paper by a schedule Bank.

               2) The firm shall also furnish Agreement to the Performance Bank guarantee for availing 100% payment as shown in page no 79.

5.  MANUFACTURER’S AUTHORISATION FORM

No. ……. dated

To

Dear Sir,

SPECIFICATION No. 


We ___________________ who are established and reputable manufacturers of ________________ (Name and descriptions of materials/ equipment offered) having factories at _______________ (address of factory) do hereby authorize M/s. _________ (Name and address of Agent) to submit a bid, and sign the contract with your for the above materials/equipment manufactured by us against the above specification No. 


No company or firm or individual other than M/s. _______ are authorized to bid, and conclude the contract in regard to this business against this specific specification No.


We hereby extend our full guarantee and warranty as per clause 15 of the General conditions contract for the materials/equipment and services offered by the above firm against this specification No.

Yours faithfully,

(Name)

(Name of the manufacturer)

Note     :
This letter of authority should be on the letterhead of the manufacturer and should be singed by a person competent and having the power of attorney to bind the manufacturer. It should be included by the Bidder in its bid.

6.  PROFORMA FOR PERFORMANCE STATEMENT

Bid No. __________



Date of Opening ________

Time ________ Hours

Name of the Firm________________________________________________

	Order placed by (full address of purchaser)
	Order No. and Date
	Description and quantity of ordered equipment
	Date of completion of Delivery

	
	
	
	As per contract
	Actual

	
	
	
	
	


	Remarks indicating reasons for late delivery, if any
	Has the equipment been satisfactorily functioning ? (Attach a certificate from the Purchaser)

	
	


Signature of the Bidder ________________________

________________________

________________________

FORM –IIIA

DETAILS TO BE FURNISHED BY THE MANUFACTURER

	1. Specification No. 
	:
	

	2. Name of the Material
	:
	

	3. Bidder’s vendor Registration No. for this item and Name of the bidder
	:
	

	4. Quantity to be procured
	:
	

	5. Last date and time for submission of Bid
	:
	

	6. Date and time for opening of Bid
	:
	

	7. State whether Bid guarantee is enclosed 
	:
	Details

	8. State whether the quotation is in single part/ Two part
	:
	

	9. State whether 20% minimum quantity is quoted
	:
	Yes/No

	10. Whether willing to furnish performance B.G. @ 10% if order is placed
	:
	

	11. Details of remittance of specification cost
	:
	Rs.

DD No. 

Date

	12. Whether a local SSI unit/Local unit
	:
	

	13. Whether month wise delivery schedule indicated ( And also indicate whether APCPDCL delivery schedule is accepted or not)
	:
	

	14. Prices whether variable/Firm
	:
	Variable/firm

	15. Whether any other tax/duty payable. If so give details and the same is included/ not included.
	:
	Attested copies of relevant documents must be enclosed in orders of details furnished. 

	16. State whether APCPDCL terms of payment are accepted.
	:
	Yes/No

	17. Quantity offered for supply 
	:
	

	18. State whether 90 days validity offered 
	:
	Yes/No

	19. Whether sample is enclosed (if specified) 
	:
	

	
	
	

	20. Whether the material/equipment offered conforms to the relevant APCPDCL specification.
	:
	

	21. Whether you have executed orders of the APCPDCL previously for these items. (please give details)
	:
	i) P.O. No. & Date 

(ii) Description of materials 

(iii) Qty. ordered (iv) Qty. supplied (v) Name of the utility.  (vi) Remarks

	22. Similar details in respect of supplies made to other utilities
	:
	i) P.O. No. & Date 

(ii) Description of materials 

(iii) Qty. ordered (iv) Qty. supplied (v) Name of the utility.  (vi) Remarks

	23. This clause is deleted.
	
	

	24. Whether sales tax clearance certificate enclosed
	:
	

	25. Whether Income-tax clearance certificate enclosed.
	:
	

	26.  Details of annual financial turnover for last 5 years
	:
	

	27. Details of annual financial turnover with period which in equal to or more than 100% value of the materials quoted.
	
	    
Period 

From       To 

Turnover 

	28. The details of supplies made in any consecutive 12 months during last five years which is equal to or more than 40% of the quoted quantity
	
	Year wise details as per the proforma shown in page No. 66

	29. Details of type tests conducted for this material
	:
	Test report No. & Date and name of the test lab. 

	30. Deviations if any
	:
	a) Commercial      b) Technical 


Signature of the bidder 
:

Date 



: 

Seal of the firm 

:


SCHEDULE OF DEVIATION

a) TECHNICAL

	Sl. No.
	Requirements/ Equipments 
	Specification Clause No.
	Deviations
	Remarks 

	
	
	
	
	

	
	
	
	
	



It is hereby conformed that except for deviations mentioned above, the offer conforms to all the other features specified in Technical Specification Section of Volume-II of this Bid Document. 

Place :





Signature of the Bidder :

Date  : 





Name :







Business address  :

c) COMMERCIAL
	Sl. No.
	Requirements/ Equipments 
	Specification Clause No.
	Deviations
	Remarks 

	
	
	
	
	

	
	
	
	
	



It is hereby conformed that except for deviations mentioned above, the offer conforms to all the other features specified in Commercial Specification Section-I of this Bid Document. 

Place :






Signature of the Bidder :

Date  : 






Name :



        

         Business address  :

SCHEDULE ‘A’

DEPARTURE FROM SPECIFICATION.

	Sl. No.
	Reference to clause No. of this specification
	Departures 

	
	
	


Signature of the bidder
:

Date



: 








Seal of the firm


:

SCHEDULE ‘B’

MANUFACTURER’S AND PLACES OF MANUFACTURE

TESTING & INSPECTION.

	Sl.No.
	Description
	Manufacturer
	Place of manufacture
	Place of testing and inspection 

	
	
	
	
	


Signature of the bidder
:

Date



: 








Seal of the firm

:

SCHEDULE ‘C’

LIST OF SUPPLIES MADE SO FAR WITH FULL DETAILS OF GOODS SUPPLIED AND TO WHOM SUPPLIED

	Sl.No.
	Details of goods supplied 
	To whom supplied

	
	
	


SCHEDULE ‘D’

	Sl.No.
	Equipment
	Contents of Individual packages
	Weight kg
	Dimensions 

	
	
	
	
	


SCHEDULE ‘E’

	Sl.No
	.Item No.
	Description.

	
	
	


SCHEDULE ‘F’

PERFORMANCE STATEMENT

	Sl. No.
	Name and Address of authority who placed the order
	Order No. and date
	Name and description of the material 
	Quantity
	Value
	Name and address of consignee
	Due date of delivery
	Actual date of delivery 
	Despatching parti-culars

	1
	2
	3
	4
	5
	6
	7
	8
	9
	10

	
	
	
	
	
	
	
	
	
	


Note : 1. Attested copies/Notarized documents  of purchase orders shall be enclosed.
           2. For item No.9 of the above, Form-13 or Invoice copies ( Attested/Notarized) 


  shall be enclosed as a proof.

SIGNATURE OF THE TENDERER 

SCHEDULE – G

DETAILS OF TESTING FACILITIES

	S.No
	Name of test
	Details of testing facilities available
	Remarks

	1
	Test of raw materials

a).

b).


	
	

	2
	Routine tests

a).

b).


	
	

	3
	Acceptance tests

a).

b).


	
	

	4
	Type tests

a).

b).


	
	








Name of the firm
:







Name and signature 








of the Bidder

:







Designation

:







Date


:

SCHEDULE – H

PROFORMA FOR ELECITING INFORMATION AND APPRAISAL OF FIRM CAPABILITY AND CAPACITY TO MAUFACTURE ITEM (S) EQUIPMENT AS PER REQUIREMENT OF TENDER ENQUIRY

1)
a)
i)
Name of the tendering Firm.

ii) Complete address of the officer.

iii) Telegraphic address.

iv) Telex number.

v) Fax number.

b)
i)
Names of two responsible officers with designation (Managing 
Director / Partner / Chief General Manager / Works Engineer etc.,.)

ii) Day on which weekly holiday is observed.

a) Complete address of the works :

i) Telegraphic address

ii) Telephone Number (s)

iii) Telex number

iv) Fax number

v)
Names of two responsible officers with designation (Managing  

Director / Partner / Chief General Manager / Works Engineer etc.,

vi) Day on which weekly holiday is observed. 

d)
Names, address and telephone numbers of the references having facilities of PT Tele phones.

a)
i)
Name




Tel.No.


ii)
Address



Tel.No.

b)
i)
Name




Tel.No.


ii)
Address



Tel.No.

2) Year of Establishment

3) Construction of the Firm :

a) Private on public limited

b) Registered under the companies Act on any other Act. Give Registration No.& Date.

4) Financial position (Area & Value)

a)
i)
Land 

ii) Building (Covered area & value)

iii) Plant and machinery

iv) Total drawing limit from banks

b)
Annual financial turnover (duly audited for the last two years)

c) Latest income tax clearance certificate. 

5) Manpower 

a) Graduate Engineers.

b) Diploma Holders

c) Skilled workers

d) Unskilled workers

6) Production capacity per month of the item covered in your quotation and justification for assessment.

a) Details of plant machinery installed (places attach separate sheets, if necessary)

b) Details of raw material required

c) Source of raw material

d) Stock in hand

e) In case any raw materials are required to be imported, indicate arrangement of raw procurement.

f) Quality controls exercised in procurement of materials.

7) a) 
Details of manufacturing process 

b)
Scheme of quality controls

i) During manufacturing process

ii) At the finished stage

iii) Whether any record is being maintained in respect of quality controls exercised.

8) Details of orders executed/under execution during the last three years.

a) State Electricity Board/State Govt./Govt. of India & their Institution under takings.

b) Other important customers.

9) a)
Whether items offered conforms to IS or any other internationally recognized standards, if so, give reference. 

b)
Whether the firm is licensed to use ISI mark or any other Govt. quality mark (copies of latest test certificates issued by Govt. laboratories/any recognized test house be attached). 

10) Whether the firm has any ISO certificates (copy shall be enclosed)

Signature of the Authorized
Signatory of the firm

Seal of the firm

Note : 1. Please attach additional sheets, where required.


2. Copies of documents attached with the proforma should be attested by the firms authorized representative with stamp mark of the firm.



ANDHRA PRADESH CENTRAL POWER DISTRIBUTION CORPORATION LIMITED

VIJAYAWADA

VENDOR  DEVELOPMENT  CELL

Letter No. CGM/P&MM/CPDCL/VR/ADE-    /D.No.

/2020, dt.      –     -2020

From

The Chief General Manager/P&MM

Dr. No. 19-13-65/A,

Kesavayana Gunta,

APCPDCL

VIJAYAWADA – 517 501

To

M/s.

Dear Sir,

Sub
:
Registration – Registration of Vendors with APCPDCL for supply of……………………………………………………………… ………………………………………………………………………


Ref

:
Your letter No. …………………………………………...         
dt. …………………… 

* * *


As requested in the reference cited, necessary application form for registration of vendors with CPDCL of A.P. Ltd., is herewith enclosed. The form may be duly filled in and sent to the Chief General Manager/P&MM/ CPDCL/ VIJAYAWADA  within 30 days from the date of issue of this application .

Note
:
Please intimate the nearest railway station for the halt of express train and the distance from railway station to the factory or the bus route from the nearest railway station to the factory. 

Yours faithfully

CHIEF GENERAL MANAGER/P&MM

INSTRUCTIONS

1. You are advised to read carefully the following instructions and also the application form completely before filling in the blanks.

2. The blanks in the application form should preferably be typed neatly against the space provided and where the space is found not sufficient, additional typed sheets may be attached giving reference to the item No. in the application.

3. The form should be signed by Proprietor/Managing Partner/Director (sitting) Commercial Manager only as the case may be who should have the authority to offer quotations and accept amendments etc., delegated by the organization management NO “ For signature” are accepted. 

4. Write your address in block letter along with your pin code No.

5. The bank account referred should be the same one through which the firm carries on majority of commercial transaction and may also be the bank through which the firm will have all business transactions with APCPDCL. 

6. The name referred to in application shall have authority to carry on business transactions with APCPDCL and APCPDCL will not entertain correspondence relating to offers from  any other person generally.

7. Please make sure the copies of certificates and documents specified in the application attested by competent authority as specified vide item (3) above are attached. This will help in quick processing of your application.

8. Incomplete or false information would render the vendor’s application liable for rejection without assigning any reason.

9. Please enclose attested copies of type test certificates as per relevant IS for the material to be registered. 

10.      Declaration

“we do hereby declare that the owners of the firm have no relationship with any firm owned/promoted by any black listed firm in any power utility, and we will agree to terminate contract if information furnished in this  regard is found false at a later date”.

ANDHRA PRADESH CENTRAL POWER DISTRIBUTION CORPORATION LIMITED

VIJAYAWADA

FORM OF APPLICATION FOR ENLISTMENT AS APPROVED VENDOR

(MANUFACTURING UNIT)


Instructions contained on the overleaf of the APCPDCL letter for the guidance of the applying vendors should be read carefully before filling in this form.

	1. Name of the Firm
	

	2. a) Name of the material for which registration is sought
	

	b) Period from which the factory is under production
	

	3. a) 

i) Works
	Address
	Tel No.
	Telex/ Fax
	Grams

	ii) Head Office
	
	
	
	

	iii) Branches
	
	
	
	

	D.D. No. ………………….
	Date ……….. for Rs. ……………. Drawn on (Bank) ……………………………………………. ……………………………………………………. …………………………………………………….



	b) Name and address of Proprietor/Partners Directors of the Firm/Company


	

	c) Name of the sitting Director of Managing Partner

Telephone No.
	

	d) The person competent to enter into the contract or sign important communications/ Documents which will legally bind the vendor (Authority to be furnished)
	

	4. a) Is your firm incorporated under the company law?
	

	b) Is your firm registered under the Indian Partnership Act, 1932? If so, registration No. and date
	

	c) Is your factory registered under the Indian Factories Act, 1948? If so, Registration No. and Date
	

	5. Does your firm come under the scope of the industries Development and Regulations Act. 1951 and if so, give number and date of registration or license held under the Act. 
	

	6. Please state the category of establishment (viz small scale, Medium Scale or Large Scale or Cottage industry and registered as such with the director of industries of the State. If registered with the Director of Industries, please state upto what period and for what material the registration has been done (please enclose a copy of registration certificate)
	

	7. Please confirm that the equipment/material for which registration is sought confirms to relevant ISS/ Boards specifications and drawings. 
	

	8. Plant and equipment available for manufacture of material for which registration is sought. (Full details to be given)
	

	9. Skilled manpower

i) Production

ii) Design and Development 

iii) Inspection
	

	10 a) Licensed capacity

     b) Manufacturing capacity (installed)
	

	11. Last year’s capacity  utilization
	

	12. Production in the last three years (quantity and value year wise)
	

	13. Product range (list of important product)


	

	14. i) Testing and inspection facilities (Details to be furnished) please confirm that the facilities available are adequate to carry out the tests required under the relevant I.S.S.
	

	ii) Whether the products are tested to any standard specification. If so a, latest copy of test certificate any be enclosed. 
	

	15. Indicate the major raw materials used and their sources. If obtained from Govt. are there any constraint?
	

	16. Name and address of your bankers stating the name in which the accounts stands
	

	17 a) Have you executed orders of the Discoms/AP TRANSCO previously for this item. If so please give full details about the executi9on of orders and pending orders if any.
	

	17. b) Similar details in respect of supply to other Electricity Boards may also be furnished


	

	18. Are you on the list of approved vendors of any other organizations like D.G.S. & D, Railways and other Electricity Boards ? If so give details


	

	19. a) Did you apply for registration with the AP TRANSCO/Discoms before under this or any other item? if so, give details


	

	b) Are you already doing business with this AP TRANSCO/Discoms under some other name? If so, under what name?
	

	20. List of certificates or documents attached to this application.

(Please state whether attached or not)
	

	a) Power of attorney and copies there of
	

	b). Income Tax, Sales Tax, Turnover, Tax clearance certificate of applicant firm.
	

	c) A certificate copy of the partnership deed.
	

	d) Declaration authorizing Branch Managers to enter into contractual obligation
	

	e) Any other documents attached.
	

	21. Has the form been properly singed as required in para (3) of the instructions

(State Yes or No)
	

	22. Are the owners/partners related to any employee of the AP TRANSCO/Discoms if so, provide full details.

23. Latest CC Charges Bill with SC No and connected load.
	

	24. Organization Chart

25. Factory Lay out

26. Income Tax/GST Registration and clearance certificate.

27. Ownership/Partnership/ Rental Deed

28. Documents indicating power of attorney/Authorized Signatory – Memorandum & Articles of Association.

29. Quality Assurance Plan.

30. Latest financial status.

31.      Declaration

“ we do hereby declare that the owners of the firm have no relationship with any firm owned/promoted by any black listed firm in any power utility, and we will agree to terminate contract if information furnished in this  regard is found false at a later date”.


	







Signature 



Name 



( in Capital Letters)



Designation 

SECTION – VIII
GENERAL & ELIGIBILITY

1.
The specification covers the design, manufacture, testing, delivery of the material as detailed in the schedule attached to the specification.
2.
ELIGIBILITY :


Imp Note:- All the certificates/ documents enclosed to the tender shall be attested or notarized. 


The tenderer who complies the following conditions need only quote.

2.1. The tenderer should quote minimum 20% of the tendered quantity.

2.2. The tenderer should have supplied minimum 40% of the quoted quantity in any one year (i.e. in any consecutive 12 months) of the last five years. The tenderer should enclose statement of the past performance of their supplies of materials during last five years only. 


At least 20% of same material offered against this specification should be in successful operation, since at least 2 years as on date of opening of bid.

2.3. In support of the above statement, attested copies of both purchase order and performance certificates/Form-13 from the purchasers should be enclosed .It may be noted that certificates/documents shall be attested by Gazetted officer or notarized. If the above documents/certificates are not attested or notarized,  the information given in the statement will be treated as not furnished. 

2.4. The tenderer should submit type test certificates as per relevant IS standards tested in any one of the accredited National Test Laboratories, which shall not be later than 5 years  subject no alteration in the design.   The bids received without type test reports will be treated as non-responsive “if any change in design was made latest type tests shall be furnished along with approved drawing”.

Important Note :

If the tenderer who do not comply any one of the conditions (or) do not furnish the information and the given information proved not correct their tender will be rejected and Bid Security will be forfeited. 

The tenderer should also furnish reports on financial standing such as profit and loss statements, balance sheets, auditors report for past thee years and bankers certificates etc to prove their financial capability.

3.         Filling up of schedules :

All the schedules should be duly filled in but not necessarily in the same sheets attached to the specification. Unless full details required in the schedules are furnished, offers will not be considered. 

4.       Clearing of doubts

If the bidder have any doubt about the meaning of any portion of this specification, he should at once obtain the required clarifications/ information in writing from the Chief General Manager/(P&MM&CIVIL)/ CPDCL/ VIJAYAWADA.

5.        BID SECURITY : 

Refer clause 20 of General and financial terms and conditions for supply of materials. Tenders with partial payment of BID SECURITY are summarily rejected

6.        DELIVERY :

The delivery shall commence within 30/60 days (as applicable) from the date of receipt of purchase order.

The quantities that can be delivered per month from the date of commencement of delivery shall be indicated.

The total quantity mentioned is to be supplied during the year to suit APCPDCL’s requirement. 

7.        GUARANTEE :

The material should be guaranteed for satisfactory operation as per clause 53 of Section-I from the date of receipt of material at destination stores in good condition. If during the guarantee period the material while in its normal operation is found defective it shall be replaced or rectified by the supplier within 15 days free of cost.  

SECTION - IX

AGREEMENT
PERFORMANCE BANK GUARANTEE
FOR AVAILING 100% PAYMENT

Whereas the ANDHRA PRADESH CENTRAL POWER DISTRIBUTION CORPORATION LIMITED hereinafter called “The APCPDCL” has afforded a facility to persons whose tenders are accepted for the supply of materials for furnishing Performance guarantee Deposit to the extent of 10% of the value of orders on the supplies, in the shape Bank guarantee for the satisfactory fulfillment of the terms and conditions of purchase order to enable supplier to draw payment for 100% value of supplies. Whereas we ……………. (Co’s Name and full address) hereinafter called the supplier intend to avail the said facility and do hereby furnish the fixed deposit of Rs. ……….. (Rupees ……………. only) in the shape of Bank guarantee vide BG.No………………………………… dt:………….. of the ……………. (Bankers name and full address) issued by ……….Bank Ltd against the Purchase Order No…………………. dt:……………
IT IS HEREBY AGREED AND DECLARED AS FOLLOWS

1. The Bank Guarantee furnished herewith shall be valid  so as to cover performance guarantee period over and above 6 months from the date of expiry of guarantee period as per purchase order, subject to the condition that if required the Bank Guarantee should be got renewed by the supplier two months before its expiry to cover the 10% value of supplies made for which the performance guarantee period (or similar stipulation in the purchase order) has not expired on the date of expiry of the initial bank guarantee. If the bank guarantee is not renewed by the stipulated date as stated above, the APCPDCL reserves the right to operate on the subsisting bank guarantee to retain an amount equivalent to 10% of the value of supplies made for which the performance guarantee period has not expired.

2. So long  as the Bank guarantee is in force, no separate deposit is required for drawing full payments for 100% value of supplies rendered for that particular order. 

3. If there is any default on the part of the supplier from proper fulfillment of order the APCPDCL shall have the unilateral right to call upon the bank and /or supplier to forthwith pay to the APCPDCL a sum equivalent to the damages or loss sustained by the APCPDCL by reason of such default or defaults.

4. Where any such amounts have been claimed from and paid by the bank, the APCPDCL shall not be bound to permit any such supplier from non payment of deposit according to rules, in respect of the supplies unless the bank guarantee has been restored to the required level for enabling the supplier to draw the 100% value of supplies rendered. 
Dated :






Name of the Company

Place : 






With signature and stamp

Note : This should be furnished on Rs. 100/- Non-Judicial stamp paper by the Company.

SECTION - X

ACRONYMS

------------------------------------------------------------------------------------------------

Reference Abbreviations

Name and Address

------------------------------------------------------------------------------------------------

IEC



International Electro Technical





Commission Bureau Central de la





Commission Electro Technique





International, Rue de verembe





Geneva, Switzerland.

ISO



International Organisation for





Standardisation,





Danish  Board of Standardisation





Aurehoegyej-12





DK-2900, Heel prup,





DENMARK

ISS



Indian Standard Bureau of 





Indian Standards





Nanak Bhavan,





9, Bahadur Shah Zafar Marg,





NEW DELHI - 110 002, INDIA

CBIP



Central Board of Irrigation and Power





Malcha Marg, Chankyapuri, 





NEW DELHI – 110 021





INDIA.

deg.C.



degrees centigrade

max.



maximum

accn.



acceleration

dB



decibels

min.



minimum

mm



millimeter

cm



centimeter

------------------------------------------------------------------------------------------------


























TENDER SPECIFICATION 





CPMPT- 21/23-24





FOR





      LT XLPE SINGLE CORE CABLE 95Sqmm 
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